## Sheet1
Architecture/PV RES (kW) | Architecture/PV COMM (kW) | Architecture/Grid (kW) | Architecture/Conv (kW) | Cost/NPC ($) | Cost/LCOE ($/kWh) | Cost/Operating cost ($/yr) | Cost/CAPEX ($) | System/Ren Frac (%) | System/Total Fuel (L/yr) | Project Economics/IRR (%) | Project Economics/Simple Payback (yr) | PV RES/CAPEX | PV RES/Energy Production (kWh/yr) | PV COMM/CAPEX | PV COMM/Energy Production (kWh/yr) | Conv/Rectifier Mean Output (kW) | Conv/Inverter Mean Output (kW) | Grid/Energy Purchased (kWh) | Grid/Energy Sold (kWh)
2964 | 4781 | 999999 | 9999999 | 965168200 | 0.23317 | 63373480 | 9756440 | 3.9031 | 0 | 22.4925 | 4.3812 | 4875039 | 4317070 | 4881401 | 6963532 | 0 | 1223.353 | 263851000 | 987033.3
2000 | 4781 | 999999 | 9999999 | 967695400 | 0.23392 | 63646280 | 8170901 | 3.4193 | 0 | 23.7472 | 4.161 | 3289500 | 2913002 | 4881401 | 6963532 | 0 | 1071.085 | 265024400 | 826564.4
2964 | 4000 | 999999 | 9999999 | 967755500 | 0.2339 | 63598000 | 8959039 | 3.5112 | 0 | 22.0536 | 4.4634 | 4875039 | 4317070 | 4084000 | 5826005 | 0 | 1099.991 | 264801500 | 856915.2
2000 | 4000 | 999999 | 9999999 | 970291700 | 0.23465 | 63871400 | 7373500 | 3.0269 | 0 | 23.3443 | 4.2294 | 3289500 | 2913002 | 4084000 | 5826005 | 0 | 947.7233 | 265977400 | 698953.4
1000 | 4781 | 999999 | 9999999 | 970330800 | 0.23469 | 63930200 | 6526151 | 2.9168 | 0 | 25.6654 | 3.8623 | 1644750 | 1456501 | 4881401 | 6963532 | 0 | 913.1315 | 266245500 | 663960.3
2964 | 3000 | 999999 | 9999999 | 971078700 | 0.23485 | 63886150 | 7938039 | 3.0088 | 0 | 21.3516 | 4.6012 | 4875039 | 4317070 | 3063000 | 4369504 | 0 | 942.037 | 266021500 | 693184.3
1000 | 4000 | 999999 | 9999999 | 972950000 | 0.23543 | 64156830 | 5728750 | 2.5238 | 0 | 25.3896 | 3.9027 | 1644750 | 1456501 | 4084000 | 5826005 | 0 | 789.7695 | 267204800 | 542659.1
| 4781 | 999999 | 9999999 | 972997800 | 0.23547 | 64216200 | 4881401 | 2.4136 | 0 | 28.8057 | 3.4531 |  |  | 4881401 | 6963532 | 0 | 755.1776 | 267475200 | 510027.5
2000 | 3000 | 999999 | 9999999 | 973641800 | 0.2356 | 64161340 | 6352500 | 2.5238 | 0 | 22.6508 | 4.3522 | 3289500 | 2913002 | 3063000 | 4369504 | 0 | 789.7695 | 267204800 | 542659.1
2964 | 2000 | 999999 | 9999999 | 974430100 | 0.23579 | 64176180 | 6917039 | 2.5057 | 0 | 20.4098 | 4.7989 | 4875039 | 4317070 | 2042000 | 2913002 | 0 | 784.0831 | 267249200 | 537246.9
| 4000 | 999999 | 9999999 | 975651700 | 0.23621 | 64445130 | 4084000 | 2.0201 | 0 | 28.9756 | 3.4333 |  |  | 4084000 | 5826005 | 0 | 631.8156 | 268444200 | 398337.7
1000 | 3000 | 999999 | 9999999 | 976343500 | 0.23638 | 64449640 | 4707750 | 2.0201 | 0 | 24.8419 | 3.9854 | 1644750 | 1456501 | 3063000 | 4369504 | 0 | 631.8156 | 268444200 | 398337.7
2000 | 2000 | 999999 | 9999999 | 977035300 | 0.23654 | 64454150 | 5331500 | 2.0201 | 0 | 21.6316 | 4.5453 | 3289500 | 2913002 | 2042000 | 2913002 | 0 | 631.8156 | 268444200 | 398337.7
2964 | 1000 | 999999 | 9999999 | 977825200 | 0.23674 | 64469100 | 5896039 | 2.002 | 0 | 19.0798 | 5.1065 | 4875039 | 4317070 | 1021000 | 1456501 | 0 | 626.1292 | 268489000 | 393384.8
| 3000 | 999999 | 9999999 | 979100200 | 0.23715 | 64741600 | 3063000 | 1.5158 | 0 | 29.2111 | 3.4062 |  |  | 3063000 | 4369504 | 0 | 473.8617 | 269698800 | 269243.4
1000 | 2000 | 999999 | 9999999 | 979792000 | 0.23732 | 64746110 | 3686750 | 1.5158 | 0 | 23.8857 | 4.138 | 1644750 | 1456501 | 2042000 | 2913002 | 0 | 473.8617 | 269698800 | 269243.4
2000 | 1000 | 999999 | 9999999 | 980483800 | 0.23749 | 64750620 | 4310500 | 1.5158 | 0 | 20.0288 | 4.8835 | 3289500 | 2913002 | 1021000 | 1456501 | 0 | 473.8617 | 269698800 | 269243.4
2964 |  | 999999 | 9999999 | 981276000 | 0.23769 | 64765720 | 4875039 | 1.4976 | 0 | 17.0868 | 5.6414 | 4875039 | 4317070 |  |  | 0 | 468.1753 | 269744300 | 264940.6
| 2000 | 999999 | 9999999 | 982619800 | 0.2381 | 65042780 | 2042000 | 1.0109 | 0 | 29.4466 | 3.3796 |  |  | 2042000 | 2913002 | 0 | 315.9078 | 270973000 | 159789.9
1000 | 1000 | 999999 | 9999999 | 983311600 | 0.23827 | 65047290 | 2665750 | 1.0109 | 0 | 22.0022 | 4.4733 | 1644750 | 1456501 | 1021000 | 1456501 | 0 | 315.9078 | 270973000 | 159789.9
2000 |  | 999999 | 9999999 | 984003300 | 0.23844 | 65051800 | 3289500 | 1.0109 | 0 | 17.2365 | 5.5977 | 3289500 | 2913002 |  |  | 0 | 315.9078 | 270973000 | 159789.9
| 1000 | 999999 | 9999999 | 986214300 | 0.23905 | 65348930 | 1021000 | 0.50563 | 0 | 29.6583 | 3.356 |  |  | 1021000 | 1456501 | 0 | 157.9539 | 272267900 | 71050.5
1000 |  | 999999 | 9999999 | 986906100 | 0.23922 | 65353440 | 1644750 | 0.50563 | 0 | 17.3761 | 5.5575 | 1644750 | 1456501 |  |  | 0 | 157.9539 | 272267900 | 71050.5
|  | 999999 |  | 989872900 | 0.24 | 65659330 | 0 | 1.3545e-12 | 0 | [8 empty] | 273580500 | 0

## processing1
PV res (kW): | PV comm (kW): | NPC ($): | NPC (M$): | LCOE ($/kWh): | Operating costs ($/yr): | Operating costs (M$/yr): | CAPEX ($): | CAPEX (M$): | IRR (%): | Simple payback (yr): | PV RES production (kWh/yr): | PV COMM production (kWh/yr): | GRID purchase (kWh/yr): | GRID sold (kWh/yr): | Total PV electricity (kWh/yr): | PV + GRID (kWh/yr): | System el consumption (kWh/yr): | Self supply (kWh/yr): | Self consumption (%): | Self Sufficiency (%): | REN GRID (kWh/yr): | Ren fraction (%): |  | PV opex [USD/kW]
2964 | 4781 | 965168200 | 965.1682 | 0.23317 | 63373480 | 63.3735 | 9756440 | 9.7564 | 22.4925 | 4.3812 | 4317070 | 6963532 | 263851000 | 987033.3 | 11280602 | 275131602 | 274144568.7 | 10293568.7 | 91.25% | 3.755% | 211080800 | 81.11% | PV RES | 19.0791
2000 | 4781 | 967695400 | 967.6954 | 0.23392 | 63646280 | 63.6463 | 8170901 | 8.1709 | 23.7472 | 4.161 | 2913002 | 6963532 | 265024400 | 826564.4 | 9876534 | 274900934 | 274074369.6 | 9049969.6 | 91.63% | 3.302% | 212019520 | 80.96% | PV COMM | 10.8226
2964 | 4000 | 967755500 | 967.7555 | 0.2339 | 63598000 | 63.598 | 8959039 | 8.959 | 22.0536 | 4.4634 | 4317070 | 5826005 | 264801500 | 856915.2 | 10143075 | 274944575 | 274087659.8 | 9286159.8 | 91.55% | 3.388% | 211841200 | 80.99%
2000 | 4000 | 970291700 | 970.2917 | 0.23465 | 63871400 | 63.8714 | 7373500 | 7.3735 | 23.3443 | 4.2294 | 2913002 | 5826005 | 265977400 | 698953.4 | 8739007 | 274716407 | 274017453.6 | 8040053.6 | 92% | 2.934% | 212781920 | 80.84% | TOTAL OPEX | 108293.303
1000 | 4781 | 970330800 | 970.3308 | 0.23469 | 63930200 | 63.9302 | 6526151 | 6.5262 | 25.6654 | 3.8623 | 1456501 | 6963532 | 266245500 | 663960.3 | 8420033 | 274665533 | 274001572.7 | 7756072.7 | 92.11% | 2.831% | 212996400 | 80.81%
2964 | 3000 | 971078700 | 971.0787 | 0.23485 | 63886150 | 63.8862 | 7938039 | 7.938 | 21.3516 | 4.6012 | 4317070 | 4369504 | 266021500 | 693184.3 | 8686574 | 274708074 | 274014889.7 | 7993389.7 | 92.02% | 2.917% | 212817200 | 80.84%
1000 | 4000 | 972950000 | 972.95 | 0.23543 | 64156830 | 64.1568 | 5728750 | 5.7287 | 25.3896 | 3.9027 | 1456501 | 5826005 | 267204800 | 542659.1 | 7282506 | 274487306 | 273944646.9 | 6739846.9 | 92.55% | 2.46% | 213763840 | 80.69%
| 4781 | 972997800 | 972.9978 | 0.23547 | 64216200 | 64.2162 | 4881401 | 4.8814 | 28.8057 | 3.4531 |  | 6963532 | 267475200 | 510027.5 | 6963532 | 274438732 | 273928704.5 | 6453504.5 | 92.68% | 2.356% | 213980160 | 80.66%
2000 | 3000 | 973641800 | 973.6418 | 0.2356 | 64161340 | 64.1613 | 6352500 | 6.3525 | 22.6508 | 4.3522 | 2913002 | 4369504 | 267204800 | 542659.1 | 7282506 | 274487306 | 273944646.9 | 6739846.9 | 92.55% | 2.46% | 213763840 | 80.69%
2964 | 2000 | 974430100 | 974.4301 | 0.23579 | 64176180 | 64.1762 | 6917039 | 6.917 | 20.4098 | 4.7989 | 4317070 | 2913002 | 267249200 | 537246.9 | 7230072 | 274479272 | 273942025.1 | 6692825.1 | 92.57% | 2.443% | 213799360 | 80.68%
| 4000 | 975651700 | 975.6517 | 0.23621 | 64445130 | 64.4451 | 4084000 | 4.084 | 28.9756 | 3.4333 |  | 5826005 | 268444200 | 398337.7 | 5826005 | 274270205 | 273871867.3 | 5427667.3 | 93.16% | 1.982% | 214755360 | 80.54%
1000 | 3000 | 976343500 | 976.3435 | 0.23638 | 64449640 | 64.4496 | 4707750 | 4.7077 | 24.8419 | 3.9854 | 1456501 | 4369504 | 268444200 | 398337.7 | 5826005 | 274270205 | 273871867.3 | 5427667.3 | 93.16% | 1.982% | 214755360 | 80.54%
2000 | 2000 | 977035300 | 977.0353 | 0.23654 | 64454150 | 64.4541 | 5331500 | 5.3315 | 21.6316 | 4.5453 | 2913002 | 2913002 | 268444200 | 398337.7 | 5826004 | 274270204 | 273871866.3 | 5427666.3 | 93.16% | 1.982% | 214755360 | 80.54%
2964 | 1000 | 977825200 | 977.8252 | 0.23674 | 64469100 | 64.4691 | 5896039 | 5.896 | 19.0798 | 5.1065 | 4317070 | 1456501 | 268489000 | 393384.8 | 5773571 | 274262571 | 273869186.2 | 5380186.2 | 93.19% | 1.965% | 214791200 | 80.54%
| 3000 | 979100200 | 979.1002 | 0.23715 | 64741600 | 64.7416 | 3063000 | 3.063 | 29.2111 | 3.4062 |  | 4369504 | 269698800 | 269243.4 | 4369504 | 274068304 | 273799060.6 | 4100260.6 | 93.84% | 1.498% | 215759040 | 80.4%
1000 | 2000 | 979792000 | 979.792 | 0.23732 | 64746110 | 64.7461 | 3686750 | 3.6867 | 23.8857 | 4.138 | 1456501 | 2913002 | 269698800 | 269243.4 | 4369503 | 274068303 | 273799059.6 | 4100259.6 | 93.84% | 1.498% | 215759040 | 80.4%
2000 | 1000 | 980483800 | 980.4838 | 0.23749 | 64750620 | 64.7506 | 4310500 | 4.3105 | 20.0288 | 4.8835 | 2913002 | 1456501 | 269698800 | 269243.4 | 4369503 | 274068303 | 273799059.6 | 4100259.6 | 93.84% | 1.498% | 215759040 | 80.4%
2964 |  | 981276000 | 981.276 | 0.23769 | 64765720 | 64.7657 | 4875039 | 4.875 | 17.0868 | 5.6414 | 4317070 |  | 269744300 | 264940.6 | 4317070 | 274061370 | 273796429.4 | 4052129.4 | 93.86% | 1.48% | 215795440 | 80.39%
| 2000 | 982619800 | 982.6198 | 0.2381 | 65042780 | 65.0428 | 2042000 | 2.042 | 29.4466 | 3.3796 |  | 2913002 | 270973000 | 159789.9 | 2913002 | 273886002 | 273726212.1 | 2753212.1 | 94.51% | 1.006% | 216778400 | 80.26%
1000 | 1000 | 983311600 | 983.3116 | 0.23827 | 65047290 | 65.0473 | 2665750 | 2.6658 | 22.0022 | 4.4733 | 1456501 | 1456501 | 270973000 | 159789.9 | 2913002 | 273886002 | 273726212.1 | 2753212.1 | 94.51% | 1.006% | 216778400 | 80.26%
2000 |  | 984003300 | 984.0033 | 0.23844 | 65051800 | 65.0518 | 3289500 | 3.2895 | 17.2365 | 5.5977 | 2913002 |  | 270973000 | 159789.9 | 2913002 | 273886002 | 273726212.1 | 2753212.1 | 94.51% | 1.006% | 216778400 | 80.26%
| 1000 | 986214300 | 986.2143 | 0.23905 | 65348930 | 65.3489 | 1021000 | 1.021 | 29.6583 | 3.356 |  | 1456501 | 272267900 | 71050.5 | 1456501 | 273724401 | 273653350.5 | 1385450.5 | 95.12% | 0.5063% | 217814320 | 80.13%
1000 |  | 986906100 | 986.9061 | 0.23922 | 65353440 | 65.3534 | 1644750 | 1.6447 | 17.3761 | 5.5575 | 1456501 |  | 272267900 | 71050.5 | 1456501 | 273724401 | 273653350.5 | 1385450.5 | 95.12% | 0.5063% | 217814320 | 80.13%
|  | 989872900 | 989.8729 | 0.24 | 65659330 | 65.6593 | 0 | 0 |  |  |  |  | 273580500 | 0 | 0 | 273580500 | 273580500 | 0 | 0% | 0% | 218864400 | 80%
|  |  |  | 0.2365 |  | 64.4726 |  | 4.9676