## Sheet1
Architecture/PV RES (kW) | Architecture/PV COMM (kW) | Architecture/Grid (kW) | Architecture/Conv (kW) | Cost/NPC ($) | Cost/LCOE ($/kWh) | Cost/Operating cost ($/yr) | Cost/CAPEX ($) | System/Ren Frac (%) | System/Total Fuel (L/yr) | Project Economics/IRR (%) | Project Economics/Simple Payback (yr) | PV RES/CAPEX | PV RES/Energy Production (kWh/yr) | PV COMM/CAPEX | PV COMM/Energy Production (kWh/yr) | Conv/Rectifier Mean Output (kW) | Conv/Inverter Mean Output (kW) | Grid/Energy Purchased (kWh) | Grid/Energy Sold (kWh)
16077 | 14834 | 999999 | 9999999 | 945575000 | 0.21501 | 59962420 | 41588160 | 14.6618 | 0 | 19.0192 | 5.1214 | 26442650 | 23416170 | 15145510 | 21605740 | 0 | 4882.513 | 248944700 | 6989979
16000 | 14834 | 999999 | 9999999 | 945754900 | 0.21506 | 59982750 | 41461510 | 14.6263 | 0 | 19.0325 | 5.1182 | 26316000 | 23304020 | 15145510 | 21605740 | 0 | 4870.35 | 249032300 | 6971088
14000 | 14834 | 999999 | 9999999 | 950434200 | 0.21649 | 60511330 | 38172020 | 13.7005 | 0 | 19.4059 | 5.0278 | 23026500 | 20391020 | 15145510 | 21605740 | 0 | 4554.442 | 251310900 | 6482358
16077 | 13000 | 999999 | 9999999 | 951133900 | 0.2166 | 60455350 | 39715640 | 13.8132 | 0 | 18.7078 | 5.1992 | 26442650 | 23416170 | 13273000 | 18934520 | 0 | 4592.825 | 251033900 | 6541595
16000 | 13000 | 999999 | 9999999 | 951314100 | 0.21666 | 60475700 | 39589000 | 13.7775 | 0 | 18.7206 | 5.1959 | 26316000 | 23304020 | 13273000 | 18934520 | 0 | 4580.663 | 251121700 | 6522796
13000 | 14834 | 999999 | 9999999 | 952777000 | 0.2172 | 60775830 | 36527260 | 13.2364 | 0 | 19.6167 | 4.9781 | 21381750 | 18934520 | 15145510 | 21605740 | 0 | 4396.489 | 252451100 | 6238840
16077 | 12000 | 999999 | 9999999 | 954168100 | 0.21748 | 60724340 | 38694640 | 13.3493 | 0 | 18.5243 | 5.246 | 26442650 | 23416170 | 12252000 | 17478010 | 0 | 4434.872 | 252174000 | 6298006
16000 | 12000 | 999999 | 9999999 | 954348500 | 0.21753 | 60744700 | 38568000 | 13.3135 | 0 | 18.5368 | 5.2428 | 26316000 | 23304020 | 12252000 | 17478010 | 0 | 4422.709 | 252261800 | 6279255
14000 | 13000 | 999999 | 9999999 | 956001400 | 0.21809 | 61004810 | 36299500 | 12.8488 | 0 | 19.0844 | 5.1054 | 23026500 | 20391020 | 13273000 | 18934520 | 0 | 4264.755 | 253402500 | 6036253
11000 | 14834 | 999999 | 9999999 | 957468700 | 0.21864 | 61305230 | 33237760 | 12.3058 | 0 | 20.0985 | 4.8678 | 18092250 | 16021510 | 15145510 | 21605740 | 0 | 4080.581 | 254733100 | 5753530
13000 | 13000 | 999999 | 9999999 | 958347700 | 0.21881 | 61269540 | 34654750 | 12.3832 | 0 | 19.2912 | 5.0552 | 21381750 | 18934520 | 13273000 | 18934520 | 0 | 4106.801 | 254543600 | 5793717
14000 | 12000 | 999999 | 9999999 | 959039400 | 0.21897 | 61274060 | 35278500 | 12.3832 | 0 | 18.8939 | 5.1525 | 23026500 | 20391020 | 12252000 | 17478010 | 0 | 4106.801 | 254543600 | 5793717
16077 | 10000 | 999999 | 9999999 | 960242200 | 0.21923 | 61262690 | 36652640 | 12.4191 | 0 | 18.1246 | 5.3508 | 26442650 | 23416170 | 10210000 | 14565010 | 0 | 4118.964 | 254455700 | 5812373
16000 | 10000 | 999999 | 9999999 | 960423000 | 0.21928 | 61283080 | 36526000 | 12.3832 | 0 | 18.1365 | 5.3476 | 26316000 | 23304020 | 10210000 | 14565010 | 0 | 4106.801 | 254543600 | 5793717
13000 | 12000 | 999999 | 9999999 | 961390400 | 0.21969 | 61539090 | 33633750 | 11.9168 | 0 | 19.097 | 5.1023 | 21381750 | 18934520 | 12252000 | 17478010 | 0 | 3948.847 | 255686100 | 5552468
9000 | 14834 | 999999 | 9999999 | 962175100 | 0.22008 | 61835610 | 29948260 | 11.372 | 0 | 20.6807 | 4.7405 | 14802750 | 13108510 | 15145510 | 21605740 | 0 | 3764.673 | 257019200 | 5272265
11000 | 13000 | 999999 | 9999999 | 963052700 | 0.22025 | 61799830 | 31365250 | 11.4496 | 0 | 19.7659 | 4.9435 | 18092250 | 16021510 | 13273000 | 18934520 | 0 | 3790.893 | 256829300 | 5312075
14000 | 10000 | 999999 | 9999999 | 965128000 | 0.22072 | 61813360 | 33236500 | 11.4496 | 0 | 18.474 | 5.259 | 23026500 | 20391020 | 10210000 | 14565010 | 0 | 3790.893 | 256829300 | 5312075
11000 | 12000 | 999999 | 9999999 | 966101000 | 0.22113 | 62069750 | 30344250 | 10.9816 | 0 | 19.566 | 4.99 | 18092250 | 16021510 | 12252000 | 17478010 | 0 | 3632.939 | 257973300 | 5072368
16077 | 8000 | 999999 | 9999999 | 966330100 | 0.22098 | 61801950 | 34610640 | 11.4856 | 0 | 17.6733 | 5.4737 | 26442650 | 23416170 | 8168000 | 11652010 | 0 | 3803.056 | 256741300 | 5330541
16000 | 8000 | 999999 | 9999999 | 966511500 | 0.22104 | 61822380 | 34484000 | 11.4496 | 0 | 17.6841 | 5.4707 | 26316000 | 23304020 | 8168000 | 11652010 | 0 | 3790.893 | 256829300 | 5312075
7000 | 14834 | 999999 | 9999999 | 966891600 | 0.22152 | 62366650 | 26658760 | 10.435 | 0 | 21.4009 | 4.5913 | 11513250 | 10195510 | 15145510 | 21605740 | 0 | 3448.765 | 259308100 | 4793792
13000 | 10000 | 999999 | 9999999 | 967484500 | 0.22145 | 62078770 | 31591750 | 10.9816 | 0 | 18.6678 | 5.2093 | 21381750 | 18934520 | 10210000 | 14565010 | 0 | 3632.939 | 257973300 | 5072368
9000 | 13000 | 999999 | 9999999 | 967768400 | 0.22169 | 62330820 | 28075750 | 10.5128 | 0 | 20.3469 | 4.8127 | 14802750 | 13108510 | 13273000 | 18934520 | 0 | 3474.986 | 259118000 | 4833395
16077 | 7000 | 999999 | 9999999 | 969378300 | 0.22186 | 62071870 | 33589640 | 11.0177 | 0 | 17.4254 | 5.5435 | 26442650 | 23416170 | 7147000 | 10195510 | 0 | 3645.102 | 257885200 | 5090817
16000 | 7000 | 999999 | 9999999 | 969559800 | 0.22192 | 62092300 | 33463000 | 10.9816 | 0 | 17.4356 | 5.5406 | 26316000 | 23304020 | 7147000 | 10195510 | 0 | 3632.939 | 257973300 | 5072368
9000 | 12000 | 999999 | 9999999 | 970820900 | 0.22258 | 62601020 | 27054750 | 10.0433 | 0 | 20.1444 | 4.8575 | 14802750 | 13108510 | 12252000 | 17478010 | 0 | 3317.032 | 260263100 | 4594835
14000 | 8000 | 999999 | 9999999 | 971227300 | 0.22249 | 62353380 | 31194500 | 10.5128 | 0 | 17.995 | 5.3855 | 23026500 | 20391020 | 8168000 | 11652010 | 0 | 3474.986 | 259118000 | 4833395
5000 | 14834 | 999999 | 9999999 | 971613400 | 0.22297 | 62898050 | 23369260 | 9.4947 | 0 | 22.3179 | 4.4136 | 8223750 | 7282506 | 15145510 | 21605740 | 0 | 3132.857 | 261598400 | 4316792
11000 | 10000 | 999999 | 9999999 | 972204400 | 0.22289 | 62610040 | 28302250 | 10.0433 | 0 | 19.1202 | 5.0967 | 18092250 | 16021510 | 10210000 | 14565010 | 0 | 3317.032 | 260263100 | 4594835
16077 | 6000 | 999999 | 9999999 | 972429000 | 0.22275 | 62341940 | 32568650 | 10.549 | 0 | 17.1608 | 5.6197 | 26442650 | 23416170 | 6126000 | 8739007 | 0 | 3487.148 | 259029800 | 4851765
7000 | 13000 | 999999 | 9999999 | 972490100 | 0.22314 | 62862210 | 24786250 | 9.5729 | 0 | 21.0774 | 4.6572 | 11513250 | 10195510 | 13273000 | 18934520 | 0 | 3159.078 | 261408300 | 4356367
16000 | 6000 | 999999 | 9999999 | 972610800 | 0.2228 | 62362400 | 32442000 | 10.5128 | 0 | 17.1703 | 5.617 | 26316000 | 23304020 | 6126000 | 8739007 | 0 | 3474.986 | 259118000 | 4833395
13000 | 8000 | 999999 | 9999999 | 973587900 | 0.22321 | 62619060 | 29549750 | 10.0433 | 0 | 18.1754 | 5.3372 | 21381750 | 18934520 | 8168000 | 11652010 | 0 | 3317.032 | 260263100 | 4594835
14000 | 7000 | 999999 | 9999999 | 974279700 | 0.22337 | 62623580 | 30173500 | 10.0433 | 0 | 17.7297 | 5.4581 | 23026500 | 20391020 | 7147000 | 10195510 | 0 | 3317.032 | 260263100 | 4594835
16077 | 5000 | 999999 | 9999999 | 975481400 | 0.22363 | 62612140 | 31547650 | 10.0794 | 0 | 16.8779 | 5.7034 | 26442650 | 23416170 | 5105000 | 7282506 | 0 | 3329.194 | 260174900 | 4613199
7000 | 12000 | 999999 | 9999999 | 975543900 | 0.22403 | 63132500 | 23765250 | 9.1018 | 0 | 20.8789 | 4.6985 | 11513250 | 10195510 | 12252000 | 17478010 | 0 | 3001.124 | 262553800 | 4118182
16000 | 5000 | 999999 | 9999999 | 975663200 | 0.22369 | 62632600 | 31421000 | 10.0433 | 0 | 16.8866 | 5.7008 | 26316000 | 23304020 | 5105000 | 7282506 | 0 | 3317.032 | 260263100 | 4594835
3000 | 14834 | 999999 | 9999999 | 976340200 | 0.22443 | 63429780 | 20079760 | 8.5514 | 0 | 23.527 | 4.1981 | 4934250 | 4369504 | 15145510 | 21605740 | 0 | 2816.95 | 263890200 | 3841184
13000 | 7000 | 999999 | 9999999 | 976640700 | 0.22409 | 62889280 | 28528750 | 9.5729 | 0 | 17.9016 | 5.4109 | 21381750 | 18934520 | 7147000 | 10195510 | 0 | 3159.078 | 261408300 | 4356367
9000 | 10000 | 999999 | 9999999 | 976927400 | 0.22434 | 63141520 | 25012750 | 9.1018 | 0 | 19.6884 | 4.9614 | 14802750 | 13108510 | 10210000 | 14565010 | 0 | 3001.124 | 262553800 | 4118182
5000 | 13000 | 999999 | 9999999 | 977216200 | 0.2246 | 63393890 | 21496750 | 8.6298 | 0 | 22.0252 | 4.4689 | 8223750 | 7282506 | 13273000 | 18934520 | 0 | 2843.17 | 263699900 | 3880542
14000 | 6000 | 999999 | 9999999 | 977332500 | 0.22425 | 62893800 | 29152500 | 9.5729 | 0 | 17.4451 | 5.5379 | 23026500 | 20391020 | 6126000 | 8739007 | 0 | 3159.078 | 261408300 | 4356367
11000 | 8000 | 999999 | 9999999 | 978311000 | 0.22466 | 63150550 | 26260250 | 9.1018 | 0 | 18.6023 | 5.226 | 18092250 | 16021510 | 8168000 | 11652010 | 0 | 3001.124 | 262553800 | 4118182
16077 | 4000 | 999999 | 9999999 | 978534200 | 0.22451 | 62882360 | 30526650 | 9.6091 | 0 | 16.5752 | 5.7955 | 26442650 | 23416170 | 4084000 | 5826005 | 0 | 3171.24 | 261320100 | 4374724
2000 | 14834 | 999999 | 9999999 | 978707800 | 0.22515 | 63695930 | 18435010 | 8.0785 | 0 | 24.2884 | 4.0724 | 3289500 | 2913002 | 15145510 | 21605740 | 0 | 2658.996 | 265037200 | 3604543
16000 | 4000 | 999999 | 9999999 | 978716000 | 0.22457 | 62902820 | 30400000 | 9.5729 | 0 | 16.5829 | 5.7931 | 26316000 | 23304020 | 4084000 | 5826005 | 0 | 3159.078 | 261408300 | 4356367
13000 | 6000 | 999999 | 9999999 | 979694500 | 0.22498 | 63159570 | 27507750 | 9.1018 | 0 | 17.6064 | 5.4924 | 21381750 | 18934520 | 6126000 | 8739007 | 0 | 3001.124 | 262553800 | 4118182
5000 | 12000 | 999999 | 9999999 | 980274800 | 0.22548 | 63664500 | 20475750 | 8.1571 | 0 | 21.8417 | 4.5042 | 8223750 | 7282506 | 12252000 | 17478010 | 0 | 2685.216 | 264846700 | 3643691
14000 | 5000 | 999999 | 9999999 | 980386300 | 0.22514 | 63164080 | 28131500 | 9.1018 | 0 | 17.1386 | 5.6262 | 23026500 | 20391020 | 5105000 | 7282506 | 0 | 3001.124 | 262553800 | 4118182
11000 | 7000 | 999999 | 9999999 | 981366800 | 0.22555 | 63420960 | 25239250 | 8.6298 | 0 | 18.3103 | 5.3016 | 18092250 | 16021510 | 7147000 | 10195510 | 0 | 2843.17 | 263699900 | 3880542
16077 | 3000 | 999999 | 9999999 | 981587800 | 0.2254 | 63152640 | 29505650 | 9.1381 | 0 | 16.2503 | 5.8973 | 26442650 | 23416170 | 3063000 | 4369504 | 0 | 3013.286 | 262465600 | 4136504
7000 | 10000 | 999999 | 9999999 | 981658300 | 0.2258 | 63673520 | 21723250 | 8.1571 | 0 | 20.4228 | 4.7961 | 11513250 | 10195510 | 10210000 | 14565010 | 0 | 2685.216 | 264846700 | 3643691
16000 | 3000 | 999999 | 9999999 | 981769800 | 0.22546 | 63173100 | 29379000 | 9.1018 | 0 | 16.2568 | 5.8952 | 26316000 | 23304020 | 3063000 | 4369504 | 0 | 3001.124 | 262553800 | 4118182
3000 | 13000 | 999999 | 9999999 | 981953800 | 0.22606 | 63926340 | 18207250 | 7.6835 | 0 | 23.3036 | 4.2364 | 4934250 | 4369504 | 13273000 | 18934520 | 0 | 2527.262 | 265994600 | 3407919
13000 | 5000 | 999999 | 9999999 | 982750300 | 0.22587 | 63429990 | 26486750 | 8.6298 | 0 | 17.2871 | 5.5831 | 21381750 | 18934520 | 5105000 | 7282506 | 0 | 2843.17 | 263699900 | 3880542
9000 | 8000 | 999999 | 9999999 | 983041900 | 0.22612 | 63682550 | 22970750 | 8.1571 | 0 | 19.147 | 5.0901 | 14802750 | 13108510 | 8168000 | 11652010 | 0 | 2685.216 | 264846700 | 3643691
14000 | 4000 | 999999 | 9999999 | 983442000 | 0.22603 | 63434500 | 27110500 | 8.6298 | 0 | 16.8076 | 5.7246 | 23026500 | 20391020 | 4084000 | 5826005 | 0 | 2843.17 | 263699900 | 3880542
| 14834 | 999999 | 9999999 | 983452700 | 0.22662 | 64228850 | 15145510 | 7.1304 | 0 | 26.2921 | 3.7734 |  |  | 15145510 | 21605740 | 0 | 2343.088 | 267334000 | 3133910
2000 | 13000 | 999999 | 9999999 | 984327000 | 0.22679 | 64192860 | 16562500 | 7.2092 | 0 | 24.1273 | 4.0984 | 3289500 | 2913002 | 13273000 | 18934520 | 0 | 2369.308 | 267143200 | 3172827
11000 | 6000 | 999999 | 9999999 | 984425400 | 0.22644 | 63691570 | 24218250 | 8.1571 | 0 | 17.9921 | 5.3863 | 18092250 | 16021510 | 6126000 | 8739007 | 0 | 2685.216 | 264846700 | 3643691
16077 | 2000 | 999999 | 9999999 | 984643400 | 0.22629 | 63423040 | 28484650 | 8.6662 | 0 | 15.9003 | 6.0107 | 26442650 | 23416170 | 2042000 | 2913002 | 0 | 2855.333 | 263611600 | 3898799
16000 | 2000 | 999999 | 9999999 | 984825600 | 0.22634 | 63443520 | 28358000 | 8.6298 | 0 | 15.9055 | 6.009 | 26316000 | 23304020 | 2042000 | 2913002 | 0 | 2843.17 | 263699900 | 3880542
3000 | 12000 | 999999 | 9999999 | 985018800 | 0.22695 | 64197370 | 17186250 | 7.2092 | 0 | 23.1594 | 4.2615 | 4934250 | 4369504 | 12252000 | 17478010 | 0 | 2369.308 | 267143200 | 3172827
13000 | 4000 | 999999 | 9999999 | 985808900 | 0.22676 | 63700590 | 25465750 | 8.1571 | 0 | 16.9404 | 5.6847 | 21381750 | 18934520 | 4084000 | 5826005 | 0 | 2685.216 | 264846700 | 3643691
9000 | 7000 | 999999 | 9999999 | 986104400 | 0.22701 | 63953410 | 21949750 | 7.6835 | 0 | 18.8358 | 5.167 | 14802750 | 13108510 | 7147000 | 10195510 | 0 | 2527.262 | 265994600 | 3407919
5000 | 10000 | 999999 | 9999999 | 986402300 | 0.22726 | 64206400 | 18433750 | 7.2092 | 0 | 21.4088 | 4.5897 | 8223750 | 7282506 | 10210000 | 14565010 | 0 | 2369.308 | 267143200 | 3172827
14000 | 3000 | 999999 | 9999999 | 986500700 | 0.22692 | 63705100 | 26089500 | 8.1571 | 0 | 16.4486 | 5.8347 | 23026500 | 20391020 | 3063000 | 4369504 | 0 | 2685.216 | 264846700 | 3643691
2000 | 12000 | 999999 | 9999999 | 987396200 | 0.22768 | 64464160 | 15541500 | 6.7341 | 0 | 24.0206 | 4.1158 | 3289500 | 2913002 | 12252000 | 17478010 | 0 | 2211.354 | 268292900 | 2938892
11000 | 5000 | 999999 | 9999999 | 987487900 | 0.22733 | 63962440 | 23197250 | 7.6835 | 0 | 17.6436 | 5.482 | 18092250 | 16021510 | 5105000 | 7282506 | 0 | 2527.262 | 265994600 | 3407919
16077 | 1000 | 999999 | 9999999 | 987701700 | 0.22718 | 63693620 | 27463650 | 8.1935 | 0 | 15.5221 | 6.1377 | 26442650 | 23416170 | 1021000 | 1456501 | 0 | 2697.379 | 264758300 | 3661851
7000 | 8000 | 999999 | 9999999 | 987785900 | 0.22758 | 64215420 | 19681250 | 7.2092 | 0 | 19.8656 | 4.9206 | 11513250 | 10195510 | 8168000 | 11652010 | 0 | 2369.308 | 267143200 | 3172827
16000 | 1000 | 999999 | 9999999 | 987884200 | 0.22723 | 63714130 | 27337000 | 8.1571 | 0 | 15.5257 | 6.1365 | 26316000 | 23304020 | 1021000 | 1456501 | 0 | 2685.216 | 264846700 | 3643691
13000 | 3000 | 999999 | 9999999 | 988871500 | 0.22765 | 63971460 | 24444750 | 7.6835 | 0 | 16.5621 | 5.7995 | 21381750 | 18934520 | 3063000 | 4369504 | 0 | 2527.262 | 265994600 | 3407919
| 13000 | 999999 | 9999999 | 989085500 | 0.22825 | 64726690 | 13273000 | 6.2581 | 0 | 26.3672 | 3.763 |  |  | 13273000 | 18934520 | 0 | 2053.401 | 269443600 | 2705955
9000 | 6000 | 999999 | 9999999 | 989169400 | 0.2279 | 64224440 | 20928750 | 7.2092 | 0 | 18.4925 | 5.2542 | 14802750 | 13108510 | 6126000 | 8739007 | 0 | 2369.308 | 267143200 | 3172827
14000 | 2000 | 999999 | 9999999 | 989563200 | 0.22781 | 63975970 | 25068500 | 7.6835 | 0 | 16.0578 | 5.9592 | 23026500 | 20391020 | 2042000 | 2913002 | 0 | 2527.262 | 265994600 | 3407919
11000 | 4000 | 999999 | 9999999 | 990552900 | 0.22822 | 64233460 | 22176250 | 7.2092 | 0 | 17.261 | 5.5906 | 18092250 | 16021510 | 4084000 | 5826005 | 0 | 2369.308 | 267143200 | 3172827
16077 |  | 999999 | 9999999 | 990764200 | 0.22807 | 63964480 | 26442650 | 7.72 | 0 | 15.1116 | 6.2811 | 26442650 | 23416170 |  |  | 0 | 2539.425 | 265906200 | 3426069
7000 | 7000 | 999999 | 9999999 | 990855000 | 0.22848 | 64486720 | 18660250 | 6.7341 | 0 | 19.5382 | 4.9965 | 11513250 | 10195510 | 7147000 | 10195510 | 0 | 2211.354 | 268292900 | 2938892
16000 |  | 999999 | 9999999 | 990946800 | 0.22813 | 63984990 | 26316000 | 7.6835 | 0 | 15.1134 | 6.2805 | 26316000 | 23304020 |  |  | 0 | 2527.262 | 265994600 | 3407919
3000 | 10000 | 999999 | 9999999 | 991160800 | 0.22873 | 64740220 | 15144250 | 6.2581 | 0 | 22.807 | 4.324 | 4934250 | 4369504 | 10210000 | 14565010 | 0 | 2053.401 | 269443600 | 2705955
13000 | 2000 | 999999 | 9999999 | 991936400 | 0.22854 | 64242490 | 23423750 | 7.2092 | 0 | 16.1485 | 5.9299 | 21381750 | 18934520 | 2042000 | 2913002 | 0 | 2369.308 | 267143200 | 3172827
| 12000 | 999999 | 9999999 | 992161600 | 0.22915 | 64998450 | 12252000 | 5.7814 | 0 | 26.4152 | 3.7564 |  |  | 12252000 | 17478010 | 0 | 1895.447 | 270595300 | 2473931
9000 | 5000 | 999999 | 9999999 | 992238600 | 0.2288 | 64495750 | 19907750 | 6.7341 | 0 | 18.1114 | 5.3543 | 14802750 | 13108510 | 5105000 | 7282506 | 0 | 2211.354 | 268292900 | 2938892
5000 | 8000 | 999999 | 9999999 | 992544300 | 0.22905 | 64749250 | 16391750 | 6.2581 | 0 | 20.8605 | 4.7024 | 8223750 | 7282506 | 8168000 | 11652010 | 0 | 2053.401 | 269443600 | 2705955
14000 | 1000 | 999999 | 9999999 | 992628200 | 0.2287 | 64247000 | 24047500 | 7.2092 | 0 | 15.6312 | 6.1006 | 23026500 | 20391020 | 1021000 | 1456501 | 0 | 2369.308 | 267143200 | 3172827
2000 | 10000 | 999999 | 9999999 | 993545100 | 0.22947 | 65007480 | 13499500 | 5.7814 | 0 | 23.7534 | 4.16 | 3289500 | 2913002 | 10210000 | 14565010 | 0 | 1895.447 | 270595300 | 2473931
11000 | 3000 | 999999 | 9999999 | 993622100 | 0.22911 | 64504770 | 21155250 | 6.7341 | 0 | 16.8384 | 5.7153 | 18092250 | 16021510 | 3063000 | 4369504 | 0 | 2211.354 | 268292900 | 2938892
7000 | 6000 | 999999 | 9999999 | 993927900 | 0.22937 | 64758270 | 17639250 | 6.2581 | 0 | 19.1705 | 5.0844 | 11513250 | 10195510 | 6126000 | 8739007 | 0 | 2053.401 | 269443600 | 2705955
13000 | 1000 | 999999 | 9999999 | 995005600 | 0.22943 | 64513790 | 22402750 | 6.7341 | 0 | 15.6937 | 6.0795 | 21381750 | 18934520 | 1021000 | 1456501 | 0 | 2211.354 | 268292900 | 2938892
9000 | 4000 | 999999 | 9999999 | 995311400 | 0.22969 | 64767290 | 18886750 | 6.2581 | 0 | 17.6863 | 5.4701 | 14802750 | 13108510 | 4084000 | 5826005 | 0 | 2053.401 | 269443600 | 2705955
5000 | 7000 | 999999 | 9999999 | 995620400 | 0.22995 | 65021010 | 15370750 | 5.7814 | 0 | 20.5284 | 4.7732 | 8223750 | 7282506 | 7147000 | 10195510 | 0 | 1895.447 | 270595300 | 2473931
14000 |  | 999999 | 9999999 | 995697400 | 0.22959 | 64518300 | 23026500 | 6.7341 | 0 | 15.163 | 6.2628 | 23026500 | 20391020 |  |  | 0 | 2211.354 | 268292900 | 2938892
11000 | 2000 | 999999 | 9999999 | 996694900 | 0.23001 | 64776320 | 20134250 | 6.2581 | 0 | 16.3696 | 5.8595 | 18092250 | 16021510 | 2042000 | 2913002 | 0 | 2053.401 | 269443600 | 2705955
7000 | 5000 | 999999 | 9999999 | 997004000 | 0.23027 | 65030040 | 16618250 | 5.7814 | 0 | 18.755 | 5.1872 | 11513250 | 10195510 | 5105000 | 7282506 | 0 | 1895.447 | 270595300 | 2473931
3000 | 8000 | 999999 | 9999999 | 997315500 | 0.23052 | 65283920 | 13102250 | 5.3039 | 0 | 22.337 | 4.41 | 4934250 | 4369504 | 8168000 | 11652010 | 0 | 1737.493 | 271747600 | 2242597
13000 |  | 999999 | 9999999 | 998078500 | 0.23033 | 64785340 | 21381750 | 6.2581 | 0 | 15.1915 | 6.2527 | 21381750 | 18934520 |  |  | 0 | 2053.401 | 269443600 | 2705955
| 10000 | 999999 | 9999999 | 998321500 | 0.23094 | 65542500 | 10210000 | 4.8256 | 0 | 26.5347 | 3.74 |  |  | 10210000 | 14565010 | 0 | 1579.539 | 272900800 | 2012024
9000 | 3000 | 999999 | 9999999 | 998387500 | 0.23059 | 65039060 | 17865750 | 5.7814 | 0 | 17.2093 | 5.6056 | 14802750 | 13108510 | 3063000 | 4369504 | 0 | 1895.447 | 270595300 | 2473931
5000 | 6000 | 999999 | 9999999 | 998699000 | 0.23084 | 65292940 | 14349750 | 5.3039 | 0 | 20.1471 | 4.8569 | 8223750 | 7282506 | 6126000 | 8739007 | 0 | 1737.493 | 271747600 | 2242597
2000 | 8000 | 999999 | 9999999 | 999705000 | 0.23126 | 65551520 | 11457500 | 4.8256 | 0 | 23.3839 | 4.2226 | 3289500 | 2913002 | 8168000 | 11652010 | 0 | 1579.539 | 272900800 | 2012024
11000 | 1000 | 999999 | 9999999 | 999771000 | 0.23091 | 65048080 | 19113250 | 5.7814 | 0 | 15.8468 | 6.0284 | 18092250 | 16021510 | 1021000 | 1456501 | 0 | 1895.447 | 270595300 | 2473931
7000 | 4000 | 999999 | 9999999 | 1000083000 | 0.23116 | 65301960 | 15597250 | 5.3039 | 0 | 18.2824 | 5.3089 | 11513250 | 10195510 | 4084000 | 5826005 | 0 | 1737.493 | 271747600 | 2242597
3000 | 7000 | 999999 | 9999999 | 1000397000 | 0.23142 | 65556030 | 12081250 | 4.8256 | 0 | 22.0396 | 4.4661 | 4934250 | 4369504 | 7147000 | 10195510 | 0 | 1579.539 | 272900800 | 2012024
9000 | 2000 | 999999 | 9999999 | 1001466000 | 0.23148 | 65310990 | 16844750 | 5.3039 | 0 | 16.6709 | 5.7661 | 14802750 | 13108510 | 2042000 | 2913002 | 0 | 1737.493 | 271747600 | 2242597
5000 | 5000 | 999999 | 9999999 | 1001780000 | 0.23174 | 65565060 | 13328750 | 4.8256 | 0 | 19.7047 | 4.9576 | 8223750 | 7282506 | 5105000 | 7282506 | 0 | 1579.539 | 272900800 | 2012024
2000 | 7000 | 999999 | 9999999 | 1002793000 | 0.23216 | 65824090 | 10436500 | 4.3465 | 0 | 23.1391 | 4.2651 | 3289500 | 2913002 | 7147000 | 10195510 | 0 | 1421.585 | 274055800 | 1783358
11000 |  | 999999 | 9999999 | 1002850000 | 0.2318 | 65320010 | 18092250 | 5.3039 | 0 | 15.2605 | 6.2284 | 18092250 | 16021510 |  |  | 0 | 1737.493 | 271747600 | 2242597
7000 | 3000 | 999999 | 9999999 | 1003164000 | 0.23206 | 65574080 | 14576250 | 4.8256 | 0 | 17.74 | 5.4552 | 11513250 | 10195510 | 3063000 | 4369504 | 0 | 1579.539 | 272900800 | 2012024
3000 | 6000 | 999999 | 9999999 | 1003485000 | 0.23232 | 65828600 | 11060250 | 4.3465 | 0 | 21.6824 | 4.5353 | 4934250 | 4369504 | 6126000 | 8739007 | 0 | 1421.585 | 274055800 | 1783358
| 8000 | 999999 | 9999999 | 1004504000 | 0.23274 | 66088060 | 8168000 | 3.8666 | 0 | 26.6949 | 3.7183 |  |  | 8168000 | 11652010 | 0 | 1263.631 | 275212500 | 1556471
9000 | 1000 | 999999 | 9999999 | 1004547000 | 0.23238 | 65583100 | 15823750 | 4.8256 | 0 | 16.0582 | 5.959 | 14802750 | 13108510 | 1021000 | 1456501 | 0 | 1579.539 | 272900800 | 2012024
5000 | 4000 | 999999 | 9999999 | 1004869000 | 0.23264 | 65837620 | 12307750 | 4.3465 | 0 | 19.1831 | 5.0814 | 8223750 | 7282506 | 4084000 | 5826005 | 0 | 1421.585 | 274055800 | 1783358
2000 | 6000 | 999999 | 9999999 | 1005888000 | 0.23306 | 66097090 | 9415500 | 3.8666 | 0 | 22.8361 | 4.3187 | 3289500 | 2913002 | 6126000 | 8739007 | 0 | 1263.631 | 275212500 | 1556471
7000 | 2000 | 999999 | 9999999 | 1006252000 | 0.23296 | 65846650 | 13555250 | 4.3465 | 0 | 17.1089 | 5.6349 | 11513250 | 10195510 | 2042000 | 2913002 | 0 | 1421.585 | 274055800 | 1783358
3000 | 5000 | 999999 | 9999999 | 1006580000 | 0.23322 | 66101600 | 10039250 | 3.8666 | 0 | 21.247 | 4.6224 | 4934250 | 4369504 | 5105000 | 7282506 | 0 | 1263.631 | 275212500 | 1556471
| 7000 | 999999 | 9999999 | 1007616000 | 0.23364 | 66362160 | 7147000 | 3.3859 | 0 | 26.7903 | 3.7055 |  |  | 7147000 | 10195510 | 0 | 1105.677 | 276373900 | 1334168
9000 |  | 999999 | 9999999 | 1007636000 | 0.23328 | 65855670 | 14802750 | 4.3465 | 0 | 15.3527 | 6.1962 | 14802750 | 13108510 |  |  | 0 | 1421.585 | 274055800 | 1783358
5000 | 3000 | 999999 | 9999999 | 1007963000 | 0.23354 | 66110620 | 11286750 | 3.8666 | 0 | 18.5605 | 5.2367 | 8223750 | 7282506 | 3063000 | 4369504 | 0 | 1263.631 | 275212500 | 1556471
2000 | 5000 | 999999 | 9999999 | 1008999000 | 0.23397 | 66371190 | 8394500 | 3.3859 | 0 | 22.4451 | 4.3899 | 3289500 | 2913002 | 5105000 | 7282506 | 0 | 1105.677 | 276373900 | 1334168
7000 | 1000 | 999999 | 9999999 | 1009347000 | 0.23386 | 66119650 | 12534250 | 3.8666 | 0 | 16.3664 | 5.8605 | 11513250 | 10195510 | 1021000 | 1456501 | 0 | 1263.631 | 275212500 | 1556471
3000 | 4000 | 999999 | 9999999 | 1009691000 | 0.23413 | 66375700 | 9018250 | 3.3859 | 0 | 20.6987 | 4.7366 | 4934250 | 4369504 | 4084000 | 5826005 | 0 | 1105.677 | 276373900 | 1334168
| 6000 | 999999 | 9999999 | 1010745000 | 0.23455 | 66637470 | 6126000 | 2.9044 | 0 | 26.8974 | 3.6912 |  |  | 6126000 | 8739007 | 0 | 947.7233 | 277540300 | 1116892
5000 | 2000 | 999999 | 9999999 | 1011075000 | 0.23445 | 66384720 | 10265750 | 3.3859 | 0 | 17.7982 | 5.4392 | 8223750 | 7282506 | 2042000 | 2913002 | 0 | 1105.677 | 276373900 | 1334168
2000 | 4000 | 999999 | 9999999 | 1012129000 | 0.23487 | 66646490 | 7373500 | 2.9044 | 0 | 21.9275 | 4.4876 | 3289500 | 2913002 | 4084000 | 5826005 | 0 | 947.7233 | 277540300 | 1116892
7000 |  | 999999 | 9999999 | 1012458000 | 0.23477 | 66393740 | 11513250 | 3.3859 | 0 | 15.4742 | 6.1541 | 11513250 | 10195510 |  |  | 0 | 1105.677 | 276373900 | 1334168
3000 | 3000 | 999999 | 9999999 | 1012820000 | 0.23503 | 66651000 | 7997250 | 2.9044 | 0 | 19.9916 | 4.8919 | 4934250 | 4369504 | 3063000 | 4369504 | 0 | 947.7233 | 277540300 | 1116892
| 5000 | 999999 | 9999999 | 1013894000 | 0.23545 | 66914090 | 5105000 | 2.4221 | 0 | 27.0209 | 3.6748 |  |  | 5105000 | 7282506 | 0 | 789.7695 | 278712200 | 905098.9
5000 | 1000 | 999999 | 9999999 | 1014204000 | 0.23535 | 66660020 | 9244750 | 2.9044 | 0 | 16.8464 | 5.7128 | 8223750 | 7282506 | 1021000 | 1456501 | 0 | 947.7233 | 277540300 | 1116892
2000 | 3000 | 999999 | 9999999 | 1015278000 | 0.23577 | 66923110 | 6352500 | 2.4221 | 0 | 21.2196 | 4.628 | 3289500 | 2913002 | 3063000 | 4369504 | 0 | 789.7695 | 278712200 | 905098.9
3000 | 2000 | 999999 | 9999999 | 1015970000 | 0.23594 | 66927620 | 6976250 | 2.4221 | 0 | 19.0525 | 5.1132 | 4934250 | 4369504 | 2042000 | 2913002 | 0 | 789.7695 | 278712200 | 905098.9
| 4000 | 999999 | 9999999 | 1017066000 | 0.23636 | 67192180 | 4084000 | 1.9391 | 0 | 27.1689 | 3.6554 |  |  | 4084000 | 5826005 | 0 | 631.8156 | 279890200 | 699440.8
5000 |  | 999999 | 9999999 | 1017353000 | 0.23626 | 66936650 | 8223750 | 2.4221 | 0 | 15.628 | 6.1017 | 8223750 | 7282506 |  |  | 0 | 789.7695 | 278712200 | 905098.9
2000 | 2000 | 999999 | 9999999 | 1018450000 | 0.23668 | 67201210 | 5331500 | 1.9391 | 0 | 20.2064 | 4.8437 | 3289500 | 2913002 | 2042000 | 2913002 | 0 | 631.8156 | 279890200 | 699440.8
3000 | 1000 | 999999 | 9999999 | 1019141000 | 0.23684 | 67205710 | 5955250 | 1.9391 | 0 | 17.7537 | 5.4514 | 4934250 | 4369504 | 1021000 | 1456501 | 0 | 631.8156 | 279890200 | 699440.8
| 3000 | 999999 | 9999999 | 1020270000 | 0.23727 | 67472440 | 3063000 | 1.4553 | 0 | 27.3438 | 3.6327 |  |  | 3063000 | 4369504 | 0 | 473.8617 | 281077300 | 502810.2
2000 | 1000 | 999999 | 9999999 | 1021654000 | 0.23759 | 67481460 | 4310500 | 1.4553 | 0 | 18.647 | 5.2146 | 3289500 | 2913002 | 1021000 | 1456501 | 0 | 473.8617 | 281077300 | 502810.2
3000 |  | 999999 | 9999999 | 1022345000 | 0.23775 | 67485980 | 4934250 | 1.4553 | 0 | 15.8431 | 6.0296 | 4934250 | 4369504 |  |  | 0 | 473.8617 | 281077300 | 502810.2
| 2000 | 999999 | 9999999 | 1023523000 | 0.23818 | 67755940 | 2042000 | 0.97085 | 0 | 27.5306 | 3.6087 |  |  | 2042000 | 2913002 | 0 | 315.9078 | 282277800 | 319668.1
2000 |  | 999999 | 9999999 | 1024907000 | 0.2385 | 67764960 | 3289500 | 0.97085 | 0 | 15.9674 | 5.9886 | 3289500 | 2913002 |  |  | 0 | 315.9078 | 282277800 | 319668.1
| 1000 | 999999 | 9999999 | 1026838000 | 0.23909 | 68043560 | 1021000 | 0.48571 | 0 | 27.6773 | 3.5901 |  |  | 1021000 | 1456501 | 0 | 157.9539 | 283495500 | 153711.1
|  | 999999 |  | 1030198000 | 0.24 | 68334120 | 0 | 1.3434e-12 | 0 | [8 empty] | 284725500 | 0

## processing2
PV res (kW): | PV comm (kW): | NPC ($): | NPC (M$): | LCOE ($/kWh): | Operating costs ($/yr): | Operating costs (M$/yr): | CAPEX ($): | CAPEX (M$): | IRR (%): | Simple payback (yr): | PV RES production (kWh/yr): | PV COMM production (kWh/yr): | GRID purchase (kWh/yr): | GRID sold (kWh/yr): | Total PV electricity (kWh/yr): | PV + GRID (kWh/yr): | System el consumption (kWh/yr): | Self supply (kWh/yr): | Self consumption (%): | Self Sufficiency (%): | REN GRID (kWh/yr): | Ren fraction (%):
16077 | 14834 | 945575000 | 945.575 | 0.21501 | 59962420 | 59.9624 | 41588160 | 41.5882 | 19.0192 | 5.1214 | 23416170 | 21605740 | 248944700 | 6989979 | 45021910 | 293966610 | 286976631 | 38031931 | 84.47% | 13.25% | 199155760 | 85.09%
16000 | 14834 | 945754900 | 945.7549 | 0.21506 | 59982750 | 59.9828 | 41461510 | 41.4615 | 19.0325 | 5.1182 | 23304020 | 21605740 | 249032300 | 6971088 | 44909760 | 293942060 | 286970972 | 37938672 | 84.48% | 13.22% | 199225840 | 85.07%
14000 | 14834 | 950434200 | 950.4342 | 0.21649 | 60511330 | 60.5113 | 38172020 | 38.172 | 19.4059 | 5.0278 | 20391020 | 21605740 | 251310900 | 6482358 | 41996760 | 293307660 | 286825302 | 35514402 | 84.56% | 12.38% | 201048720 | 84.74%
16077 | 13000 | 951133900 | 951.1339 | 0.2166 | 60455350 | 60.4554 | 39715640 | 39.7156 | 18.7078 | 5.1992 | 23416170 | 18934520 | 251033900 | 6541595 | 42350690 | 293384590 | 286842995 | 35809095 | 84.55% | 12.48% | 200827120 | 84.78%
16000 | 13000 | 951314100 | 951.3141 | 0.21666 | 60475700 | 60.4757 | 39589000 | 39.589 | 18.7206 | 5.1959 | 23304020 | 18934520 | 251121700 | 6522796 | 42238540 | 293360240 | 286837444 | 35715744 | 84.56% | 12.45% | 200897360 | 84.76%
13000 | 14834 | 952777000 | 952.777 | 0.2172 | 60775830 | 60.7758 | 36527260 | 36.5273 | 19.6167 | 4.9781 | 18934520 | 21605740 | 252451100 | 6238840 | 40540260 | 292991360 | 286752520 | 34301420 | 84.61% | 11.96% | 201960880 | 84.57%
16077 | 12000 | 954168100 | 954.1681 | 0.21748 | 60724340 | 60.7243 | 38694640 | 38.6946 | 18.5243 | 5.246 | 23416170 | 17478010 | 252174000 | 6298006 | 40894180 | 293068180 | 286770174 | 34596174 | 84.6% | 12.06% | 201739200 | 84.61%
16000 | 12000 | 954348500 | 954.3485 | 0.21753 | 60744700 | 60.7447 | 38568000 | 38.568 | 18.5368 | 5.2428 | 23304020 | 17478010 | 252261800 | 6279255 | 40782030 | 293043830 | 286764575 | 34502775 | 84.6% | 12.03% | 201809440 | 84.6%
14000 | 13000 | 956001400 | 956.0014 | 0.21809 | 61004810 | 61.0048 | 36299500 | 36.2995 | 19.0844 | 5.1054 | 20391020 | 18934520 | 253402500 | 6036253 | 39325540 | 292728040 | 286691787 | 33289287 | 84.65% | 11.61% | 202722000 | 84.43%
11000 | 14834 | 957468700 | 957.4687 | 0.21864 | 61305230 | 61.3052 | 33237760 | 33.2378 | 20.0985 | 4.8678 | 16021510 | 21605740 | 254733100 | 5753530 | 37627250 | 292360350 | 286606820 | 31873720 | 84.71% | 11.12% | 203786480 | 84.23%
13000 | 13000 | 958347700 | 958.3477 | 0.21881 | 61269540 | 61.2695 | 34654750 | 34.6547 | 19.2912 | 5.0552 | 18934520 | 18934520 | 254543600 | 5793717 | 37869040 | 292412640 | 286618923 | 32075323 | 84.7% | 11.19% | 203634880 | 84.26%
14000 | 12000 | 959039400 | 959.0394 | 0.21897 | 61274060 | 61.2741 | 35278500 | 35.2785 | 18.8939 | 5.1525 | 20391020 | 17478010 | 254543600 | 5793717 | 37869030 | 292412630 | 286618913 | 32075313 | 84.7% | 11.19% | 203634880 | 84.26%
16077 | 10000 | 960242200 | 960.2422 | 0.21923 | 61262690 | 61.2627 | 36652640 | 36.6526 | 18.1246 | 5.3508 | 23416170 | 14565010 | 254455700 | 5812373 | 37981180 | 292436880 | 286624507 | 32168807 | 84.7% | 11.22% | 203564560 | 84.27%
16000 | 10000 | 960423000 | 960.423 | 0.21928 | 61283080 | 61.2831 | 36526000 | 36.526 | 18.1365 | 5.3476 | 23304020 | 14565010 | 254543600 | 5793717 | 37869030 | 292412630 | 286618913 | 32075313 | 84.7% | 11.19% | 203634880 | 84.26%
13000 | 12000 | 961390400 | 961.3904 | 0.21969 | 61539090 | 61.5391 | 33633750 | 33.6337 | 19.097 | 5.1023 | 18934520 | 17478010 | 255686100 | 5552468 | 36412530 | 292098630 | 286546162 | 30860062 | 84.75% | 10.77% | 204548880 | 84.09%
9000 | 14834 | 962175100 | 962.1751 | 0.22008 | 61835610 | 61.8356 | 29948260 | 29.9483 | 20.6807 | 4.7405 | 13108510 | 21605740 | 257019200 | 5272265 | 34714250 | 291733450 | 286461185 | 29441985 | 84.81% | 10.28% | 205615360 | 83.9%
11000 | 13000 | 963052700 | 963.0527 | 0.22025 | 61799830 | 61.7998 | 31365250 | 31.3652 | 19.7659 | 4.9435 | 16021510 | 18934520 | 256829300 | 5312075 | 34956030 | 291785330 | 286473255 | 29643955 | 84.8% | 10.35% | 205463440 | 83.92%
14000 | 10000 | 965128000 | 965.128 | 0.22072 | 61813360 | 61.8134 | 33236500 | 33.2365 | 18.474 | 5.259 | 20391020 | 14565010 | 256829300 | 5312075 | 34956030 | 291785330 | 286473255 | 29643955 | 84.8% | 10.35% | 205463440 | 83.92%
11000 | 12000 | 966101000 | 966.101 | 0.22113 | 62069750 | 62.0697 | 30344250 | 30.3442 | 19.566 | 4.99 | 16021510 | 17478010 | 257973300 | 5072368 | 33499520 | 291472820 | 286400452 | 28427152 | 84.86% | 9.926% | 206378640 | 83.76%
16077 | 8000 | 966330100 | 966.3301 | 0.22098 | 61801950 | 61.8019 | 34610640 | 34.6106 | 17.6733 | 5.4737 | 23416170 | 11652010 | 256741300 | 5330541 | 35068180 | 291809480 | 286478939 | 29737639 | 84.8% | 10.38% | 205393040 | 83.94%
16000 | 8000 | 966511500 | 966.5115 | 0.22104 | 61822380 | 61.8224 | 34484000 | 34.484 | 17.6841 | 5.4707 | 23304020 | 11652010 | 256829300 | 5312075 | 34956030 | 291785330 | 286473255 | 29643955 | 84.8% | 10.35% | 205463440 | 83.92%
7000 | 14834 | 966891600 | 966.8916 | 0.22152 | 62366650 | 62.3666 | 26658760 | 26.6588 | 21.4009 | 4.5913 | 10195510 | 21605740 | 259308100 | 4793792 | 31801250 | 291109350 | 286315558 | 27007458 | 84.93% | 9.433% | 207446480 | 83.56%
13000 | 10000 | 967484500 | 967.4845 | 0.22145 | 62078770 | 62.0788 | 31591750 | 31.5918 | 18.6678 | 5.2093 | 18934520 | 14565010 | 257973300 | 5072368 | 33499530 | 291472830 | 286400462 | 28427162 | 84.86% | 9.926% | 206378640 | 83.76%
9000 | 13000 | 967768400 | 967.7684 | 0.22169 | 62330820 | 62.3308 | 28075750 | 28.0757 | 20.3469 | 4.8127 | 13108510 | 18934520 | 259118000 | 4833395 | 32043030 | 291161030 | 286327635 | 27209635 | 84.92% | 9.503% | 207294400 | 83.59%
16077 | 7000 | 969378300 | 969.3783 | 0.22186 | 62071870 | 62.0719 | 33589640 | 33.5896 | 17.4254 | 5.5435 | 23416170 | 10195510 | 257885200 | 5090817 | 33611680 | 291496880 | 286406063 | 28520863 | 84.85% | 9.958% | 206308160 | 83.77%
16000 | 7000 | 969559800 | 969.5598 | 0.22192 | 62092300 | 62.0923 | 33463000 | 33.463 | 17.4356 | 5.5406 | 23304020 | 10195510 | 257973300 | 5072368 | 33499530 | 291472830 | 286400462 | 28427162 | 84.86% | 9.926% | 206378640 | 83.76%
9000 | 12000 | 970820900 | 970.8209 | 0.22258 | 62601020 | 62.601 | 27054750 | 27.0547 | 20.1444 | 4.8575 | 13108510 | 17478010 | 260263100 | 4594835 | 30586520 | 290849620 | 286254785 | 25991685 | 84.98% | 9.08% | 208210480 | 83.42%
14000 | 8000 | 971227300 | 971.2273 | 0.22249 | 62353380 | 62.3534 | 31194500 | 31.1945 | 17.995 | 5.3855 | 20391020 | 11652010 | 259118000 | 4833395 | 32043030 | 291161030 | 286327635 | 27209635 | 84.92% | 9.503% | 207294400 | 83.59%
5000 | 14834 | 971613400 | 971.6134 | 0.22297 | 62898050 | 62.898 | 23369260 | 23.3693 | 22.3179 | 4.4136 | 7282506 | 21605740 | 261598400 | 4316792 | 28888246 | 290486646 | 286169854 | 24571454 | 85.06% | 8.586% | 209278720 | 83.23%
11000 | 10000 | 972204400 | 972.2044 | 0.22289 | 62610040 | 62.61 | 28302250 | 28.3023 | 19.1202 | 5.0967 | 16021510 | 14565010 | 260263100 | 4594835 | 30586520 | 290849620 | 286254785 | 25991685 | 84.98% | 9.08% | 208210480 | 83.42%
16077 | 6000 | 972429000 | 972.429 | 0.22275 | 62341940 | 62.3419 | 32568650 | 32.5686 | 17.1608 | 5.6197 | 23416170 | 8739007 | 259029800 | 4851765 | 32155177 | 291184977 | 286333212 | 27303412 | 84.91% | 9.536% | 207223840 | 83.6%
7000 | 13000 | 972490100 | 972.4901 | 0.22314 | 62862210 | 62.8622 | 24786250 | 24.7862 | 21.0774 | 4.6572 | 10195510 | 18934520 | 261408300 | 4356367 | 29130030 | 290538330 | 286181963 | 24773663 | 85.05% | 8.657% | 209126640 | 83.25%
16000 | 6000 | 972610800 | 972.6108 | 0.2228 | 62362400 | 62.3624 | 32442000 | 32.442 | 17.1703 | 5.617 | 23304020 | 8739007 | 259118000 | 4833395 | 32043027 | 291161027 | 286327632 | 27209632 | 84.92% | 9.503% | 207294400 | 83.59%
13000 | 8000 | 973587900 | 973.5879 | 0.22321 | 62619060 | 62.6191 | 29549750 | 29.5497 | 18.1754 | 5.3372 | 18934520 | 11652010 | 260263100 | 4594835 | 30586530 | 290849630 | 286254795 | 25991695 | 84.98% | 9.08% | 208210480 | 83.42%
14000 | 7000 | 974279700 | 974.2797 | 0.22337 | 62623580 | 62.6236 | 30173500 | 30.1735 | 17.7297 | 5.4581 | 20391020 | 10195510 | 260263100 | 4594835 | 30586530 | 290849630 | 286254795 | 25991695 | 84.98% | 9.08% | 208210480 | 83.42%
16077 | 5000 | 975481400 | 975.4814 | 0.22363 | 62612140 | 62.6121 | 31547650 | 31.5477 | 16.8779 | 5.7034 | 23416170 | 7282506 | 260174900 | 4613199 | 30698676 | 290873576 | 286260377 | 26085477 | 84.97% | 9.113% | 208139920 | 83.43%
7000 | 12000 | 975543900 | 975.5439 | 0.22403 | 63132500 | 63.1325 | 23765250 | 23.7653 | 20.8789 | 4.6985 | 10195510 | 17478010 | 262553800 | 4118182 | 27673520 | 290227320 | 286109138 | 23555338 | 85.12% | 8.233% | 210043040 | 83.09%
16000 | 5000 | 975663200 | 975.6632 | 0.22369 | 62632600 | 62.6326 | 31421000 | 31.421 | 16.8866 | 5.7008 | 23304020 | 7282506 | 260263100 | 4594835 | 30586526 | 290849626 | 286254791 | 25991691 | 84.98% | 9.08% | 208210480 | 83.42%
3000 | 14834 | 976340200 | 976.3402 | 0.22443 | 63429780 | 63.4298 | 20079760 | 20.0798 | 23.527 | 4.1981 | 4369504 | 21605740 | 263890200 | 3841184 | 25975244 | 289865444 | 286024260 | 22134060 | 85.21% | 7.739% | 211112160 | 82.89%
13000 | 7000 | 976640700 | 976.6407 | 0.22409 | 62889280 | 62.8893 | 28528750 | 28.5287 | 17.9016 | 5.4109 | 18934520 | 10195510 | 261408300 | 4356367 | 29130030 | 290538330 | 286181963 | 24773663 | 85.05% | 8.657% | 209126640 | 83.25%
9000 | 10000 | 976927400 | 976.9274 | 0.22434 | 63141520 | 63.1415 | 25012750 | 25.0128 | 19.6884 | 4.9614 | 13108510 | 14565010 | 262553800 | 4118182 | 27673520 | 290227320 | 286109138 | 23555338 | 85.12% | 8.233% | 210043040 | 83.09%
5000 | 13000 | 977216200 | 977.2162 | 0.2246 | 63393890 | 63.3939 | 21496750 | 21.4967 | 22.0252 | 4.4689 | 7282506 | 18934520 | 263699900 | 3880542 | 26217026 | 289916926 | 286036384 | 22336484 | 85.2% | 7.809% | 210959920 | 82.92%
14000 | 6000 | 977332500 | 977.3325 | 0.22425 | 62893800 | 62.8938 | 29152500 | 29.1525 | 17.4451 | 5.5379 | 20391020 | 8739007 | 261408300 | 4356367 | 29130027 | 290538327 | 286181960 | 24773660 | 85.05% | 8.657% | 209126640 | 83.25%
11000 | 8000 | 978311000 | 978.311 | 0.22466 | 63150550 | 63.1506 | 26260250 | 26.2602 | 18.6023 | 5.226 | 16021510 | 11652010 | 262553800 | 4118182 | 27673520 | 290227320 | 286109138 | 23555338 | 85.12% | 8.233% | 210043040 | 83.09%
16077 | 4000 | 978534200 | 978.5342 | 0.22451 | 62882360 | 62.8824 | 30526650 | 30.5267 | 16.5752 | 5.7955 | 23416170 | 5826005 | 261320100 | 4374724 | 29242175 | 290562275 | 286187551 | 24867451 | 85.04% | 8.689% | 209056080 | 83.27%
2000 | 14834 | 978707800 | 978.7078 | 0.22515 | 63695930 | 63.6959 | 18435010 | 18.435 | 24.2884 | 4.0724 | 2913002 | 21605740 | 265037200 | 3604543 | 24518742 | 289555942 | 285951399 | 20914199 | 85.3% | 7.314% | 212029760 | 82.72%
16000 | 4000 | 978716000 | 978.716 | 0.22457 | 62902820 | 62.9028 | 30400000 | 30.4 | 16.5829 | 5.7931 | 23304020 | 5826005 | 261408300 | 4356367 | 29130025 | 290538325 | 286181958 | 24773658 | 85.05% | 8.657% | 209126640 | 83.25%
13000 | 6000 | 979694500 | 979.6945 | 0.22498 | 63159570 | 63.1596 | 27507750 | 27.5078 | 17.6064 | 5.4924 | 18934520 | 8739007 | 262553800 | 4118182 | 27673527 | 290227327 | 286109145 | 23555345 | 85.12% | 8.233% | 210043040 | 83.09%
5000 | 12000 | 980274800 | 980.2748 | 0.22548 | 63664500 | 63.6645 | 20475750 | 20.4758 | 21.8417 | 4.5042 | 7282506 | 17478010 | 264846700 | 3643691 | 24760516 | 289607216 | 285963525 | 21116825 | 85.28% | 7.384% | 211877360 | 82.75%
14000 | 5000 | 980386300 | 980.3863 | 0.22514 | 63164080 | 63.1641 | 28131500 | 28.1315 | 17.1386 | 5.6262 | 20391020 | 7282506 | 262553800 | 4118182 | 27673526 | 290227326 | 286109144 | 23555344 | 85.12% | 8.233% | 210043040 | 83.09%
11000 | 7000 | 981366800 | 981.3668 | 0.22555 | 63420960 | 63.421 | 25239250 | 25.2392 | 18.3103 | 5.3016 | 16021510 | 10195510 | 263699900 | 3880542 | 26217020 | 289916920 | 286036378 | 22336478 | 85.2% | 7.809% | 210959920 | 82.92%
16077 | 3000 | 981587800 | 981.5878 | 0.2254 | 63152640 | 63.1526 | 29505650 | 29.5056 | 16.2503 | 5.8973 | 23416170 | 4369504 | 262465600 | 4136504 | 27785674 | 290251274 | 286114770 | 23649170 | 85.11% | 8.266% | 209972480 | 83.1%
7000 | 10000 | 981658300 | 981.6583 | 0.2258 | 63673520 | 63.6735 | 21723250 | 21.7233 | 20.4228 | 4.7961 | 10195510 | 14565010 | 264846700 | 3643691 | 24760520 | 289607220 | 285963529 | 21116829 | 85.28% | 7.384% | 211877360 | 82.75%
16000 | 3000 | 981769800 | 981.7698 | 0.22546 | 63173100 | 63.1731 | 29379000 | 29.379 | 16.2568 | 5.8952 | 23304020 | 4369504 | 262553800 | 4118182 | 27673524 | 290227324 | 286109142 | 23555342 | 85.12% | 8.233% | 210043040 | 83.09%
3000 | 13000 | 981953800 | 981.9538 | 0.22606 | 63926340 | 63.9263 | 18207250 | 18.2072 | 23.3036 | 4.2364 | 4369504 | 18934520 | 265994600 | 3407919 | 23304024 | 289298624 | 285890705 | 19896105 | 85.38% | 6.959% | 212795680 | 82.58%
13000 | 5000 | 982750300 | 982.7503 | 0.22587 | 63429990 | 63.43 | 26486750 | 26.4868 | 17.2871 | 5.5831 | 18934520 | 7282506 | 263699900 | 3880542 | 26217026 | 289916926 | 286036384 | 22336484 | 85.2% | 7.809% | 210959920 | 82.92%
9000 | 8000 | 983041900 | 983.0419 | 0.22612 | 63682550 | 63.6825 | 22970750 | 22.9707 | 19.147 | 5.0901 | 13108510 | 11652010 | 264846700 | 3643691 | 24760520 | 289607220 | 285963529 | 21116829 | 85.28% | 7.384% | 211877360 | 82.75%
14000 | 4000 | 983442000 | 983.442 | 0.22603 | 63434500 | 63.4345 | 27110500 | 27.1105 | 16.8076 | 5.7246 | 20391020 | 5826005 | 263699900 | 3880542 | 26217025 | 289916925 | 286036383 | 22336483 | 85.2% | 7.809% | 210959920 | 82.92%
| 14834 | 983452700 | 983.4527 | 0.22662 | 64228850 | 64.2288 | 15145510 | 15.1455 | 26.2921 | 3.7734 |  | 21605740 | 267334000 | 3133910 | 21605740 | 288939740 | 285805830 | 18471830 | 85.5% | 6.463% | 213867200 | 82.39%
2000 | 13000 | 984327000 | 984.327 | 0.22679 | 64192860 | 64.1929 | 16562500 | 16.5625 | 24.1273 | 4.0984 | 2913002 | 18934520 | 267143200 | 3172827 | 21847522 | 288990722 | 285817895 | 18674695 | 85.48% | 6.534% | 213714560 | 82.42%
11000 | 6000 | 984425400 | 984.4254 | 0.22644 | 63691570 | 63.6916 | 24218250 | 24.2183 | 17.9921 | 5.3863 | 16021510 | 8739007 | 264846700 | 3643691 | 24760517 | 289607217 | 285963526 | 21116826 | 85.28% | 7.384% | 211877360 | 82.75%
16077 | 2000 | 984643400 | 984.6434 | 0.22629 | 63423040 | 63.423 | 28484650 | 28.4846 | 15.9003 | 6.0107 | 23416170 | 2913002 | 263611600 | 3898799 | 26329172 | 289940772 | 286041973 | 22430373 | 85.19% | 7.842% | 210889280 | 82.93%
16000 | 2000 | 984825600 | 984.8256 | 0.22634 | 63443520 | 63.4435 | 28358000 | 28.358 | 15.9055 | 6.009 | 23304020 | 2913002 | 263699900 | 3880542 | 26217022 | 289916922 | 286036380 | 22336480 | 85.2% | 7.809% | 210959920 | 82.92%
3000 | 12000 | 985018800 | 985.0188 | 0.22695 | 64197370 | 64.1974 | 17186250 | 17.1863 | 23.1594 | 4.2615 | 4369504 | 17478010 | 267143200 | 3172827 | 21847514 | 288990714 | 285817887 | 18674687 | 85.48% | 6.534% | 213714560 | 82.42%
13000 | 4000 | 985808900 | 985.8089 | 0.22676 | 63700590 | 63.7006 | 25465750 | 25.4657 | 16.9404 | 5.6847 | 18934520 | 5826005 | 264846700 | 3643691 | 24760525 | 289607225 | 285963534 | 21116834 | 85.28% | 7.384% | 211877360 | 82.75%
9000 | 7000 | 986104400 | 986.1044 | 0.22701 | 63953410 | 63.9534 | 21949750 | 21.9498 | 18.8358 | 5.167 | 13108510 | 10195510 | 265994600 | 3407919 | 23304020 | 289298620 | 285890701 | 19896101 | 85.38% | 6.959% | 212795680 | 82.58%
5000 | 10000 | 986402300 | 986.4023 | 0.22726 | 64206400 | 64.2064 | 18433750 | 18.4337 | 21.4088 | 4.5897 | 7282506 | 14565010 | 267143200 | 3172827 | 21847516 | 288990716 | 285817889 | 18674689 | 85.48% | 6.534% | 213714560 | 82.42%
14000 | 3000 | 986500700 | 986.5007 | 0.22692 | 63705100 | 63.7051 | 26089500 | 26.0895 | 16.4486 | 5.8347 | 20391020 | 4369504 | 264846700 | 3643691 | 24760524 | 289607224 | 285963533 | 21116833 | 85.28% | 7.384% | 211877360 | 82.75%
2000 | 12000 | 987396200 | 987.3962 | 0.22768 | 64464160 | 64.4642 | 15541500 | 15.5415 | 24.0206 | 4.1158 | 2913002 | 17478010 | 268292900 | 2938892 | 20391012 | 288683912 | 285745020 | 17452120 | 85.59% | 6.108% | 214634320 | 82.25%
11000 | 5000 | 987487900 | 987.4879 | 0.22733 | 63962440 | 63.9624 | 23197250 | 23.1973 | 17.6436 | 5.482 | 16021510 | 7282506 | 265994600 | 3407919 | 23304016 | 289298616 | 285890697 | 19896097 | 85.38% | 6.959% | 212795680 | 82.58%
16077 | 1000 | 987701700 | 987.7017 | 0.22718 | 63693620 | 63.6936 | 27463650 | 27.4637 | 15.5221 | 6.1377 | 23416170 | 1456501 | 264758300 | 3661851 | 24872671 | 289630971 | 285969120 | 21210820 | 85.28% | 7.417% | 211806640 | 82.76%
7000 | 8000 | 987785900 | 987.7859 | 0.22758 | 64215420 | 64.2154 | 19681250 | 19.6812 | 19.8656 | 4.9206 | 10195510 | 11652010 | 267143200 | 3172827 | 21847520 | 288990720 | 285817893 | 18674693 | 85.48% | 6.534% | 213714560 | 82.42%
16000 | 1000 | 987884200 | 987.8842 | 0.22723 | 63714130 | 63.7141 | 27337000 | 27.337 | 15.5257 | 6.1365 | 23304020 | 1456501 | 264846700 | 3643691 | 24760521 | 289607221 | 285963530 | 21116830 | 85.28% | 7.384% | 211877360 | 82.75%
13000 | 3000 | 988871500 | 988.8715 | 0.22765 | 63971460 | 63.9715 | 24444750 | 24.4447 | 16.5621 | 5.7995 | 18934520 | 4369504 | 265994600 | 3407919 | 23304024 | 289298624 | 285890705 | 19896105 | 85.38% | 6.959% | 212795680 | 82.58%
| 13000 | 989085500 | 989.0855 | 0.22825 | 64726690 | 64.7267 | 13273000 | 13.273 | 26.3672 | 3.763 |  | 18934520 | 269443600 | 2705955 | 18934520 | 288378120 | 285672165 | 16228565 | 85.71% | 5.681% | 215554880 | 82.08%
9000 | 6000 | 989169400 | 989.1694 | 0.2279 | 64224440 | 64.2244 | 20928750 | 20.9288 | 18.4925 | 5.2542 | 13108510 | 8739007 | 267143200 | 3172827 | 21847517 | 288990717 | 285817890 | 18674690 | 85.48% | 6.534% | 213714560 | 82.42%
14000 | 2000 | 989563200 | 989.5632 | 0.22781 | 63975970 | 63.976 | 25068500 | 25.0685 | 16.0578 | 5.9592 | 20391020 | 2913002 | 265994600 | 3407919 | 23304022 | 289298622 | 285890703 | 19896103 | 85.38% | 6.959% | 212795680 | 82.58%
11000 | 4000 | 990552900 | 990.5529 | 0.22822 | 64233460 | 64.2335 | 22176250 | 22.1762 | 17.261 | 5.5906 | 16021510 | 5826005 | 267143200 | 3172827 | 21847515 | 288990715 | 285817888 | 18674688 | 85.48% | 6.534% | 213714560 | 82.42%
16077 |  | 990764200 | 990.7642 | 0.22807 | 63964480 | 63.9645 | 26442650 | 26.4427 | 15.1116 | 6.2811 | 23416170 |  | 265906200 | 3426069 | 23416170 | 289322370 | 285896301 | 19990101 | 85.37% | 6.992% | 212724960 | 82.6%
7000 | 7000 | 990855000 | 990.855 | 0.22848 | 64486720 | 64.4867 | 18660250 | 18.6603 | 19.5382 | 4.9965 | 10195510 | 10195510 | 268292900 | 2938892 | 20391020 | 288683920 | 285745028 | 17452128 | 85.59% | 6.108% | 214634320 | 82.25%
16000 |  | 990946800 | 990.9468 | 0.22813 | 63984990 | 63.985 | 26316000 | 26.316 | 15.1134 | 6.2805 | 23304020 |  | 265994600 | 3407919 | 23304020 | 289298620 | 285890701 | 19896101 | 85.38% | 6.959% | 212795680 | 82.58%
3000 | 10000 | 991160800 | 991.1608 | 0.22873 | 64740220 | 64.7402 | 15144250 | 15.1442 | 22.807 | 4.324 | 4369504 | 14565010 | 269443600 | 2705955 | 18934514 | 288378114 | 285672159 | 16228559 | 85.71% | 5.681% | 215554880 | 82.08%
13000 | 2000 | 991936400 | 991.9364 | 0.22854 | 64242490 | 64.2425 | 23423750 | 23.4237 | 16.1485 | 5.9299 | 18934520 | 2913002 | 267143200 | 3172827 | 21847522 | 288990722 | 285817895 | 18674695 | 85.48% | 6.534% | 213714560 | 82.42%
| 12000 | 992161600 | 992.1616 | 0.22915 | 64998450 | 64.9985 | 12252000 | 12.252 | 26.4152 | 3.7564 |  | 17478010 | 270595300 | 2473931 | 17478010 | 288073310 | 285599379 | 15004079 | 85.85% | 5.254% | 216476240 | 81.92%
9000 | 5000 | 992238600 | 992.2386 | 0.2288 | 64495750 | 64.4958 | 19907750 | 19.9078 | 18.1114 | 5.3543 | 13108510 | 7282506 | 268292900 | 2938892 | 20391016 | 288683916 | 285745024 | 17452124 | 85.59% | 6.108% | 214634320 | 82.25%
5000 | 8000 | 992544300 | 992.5443 | 0.22905 | 64749250 | 64.7493 | 16391750 | 16.3917 | 20.8605 | 4.7024 | 7282506 | 11652010 | 269443600 | 2705955 | 18934516 | 288378116 | 285672161 | 16228561 | 85.71% | 5.681% | 215554880 | 82.08%
14000 | 1000 | 992628200 | 992.6282 | 0.2287 | 64247000 | 64.247 | 24047500 | 24.0475 | 15.6312 | 6.1006 | 20391020 | 1456501 | 267143200 | 3172827 | 21847521 | 288990721 | 285817894 | 18674694 | 85.48% | 6.534% | 213714560 | 82.42%
2000 | 10000 | 993545100 | 993.5451 | 0.22947 | 65007480 | 65.0075 | 13499500 | 13.4995 | 23.7534 | 4.16 | 2913002 | 14565010 | 270595300 | 2473931 | 17478012 | 288073312 | 285599381 | 15004081 | 85.85% | 5.254% | 216476240 | 81.92%
11000 | 3000 | 993622100 | 993.6221 | 0.22911 | 64504770 | 64.5048 | 21155250 | 21.1552 | 16.8384 | 5.7153 | 16021510 | 4369504 | 268292900 | 2938892 | 20391014 | 288683914 | 285745022 | 17452122 | 85.59% | 6.108% | 214634320 | 82.25%
7000 | 6000 | 993927900 | 993.9279 | 0.22937 | 64758270 | 64.7583 | 17639250 | 17.6393 | 19.1705 | 5.0844 | 10195510 | 8739007 | 269443600 | 2705955 | 18934517 | 288378117 | 285672162 | 16228562 | 85.71% | 5.681% | 215554880 | 82.08%
13000 | 1000 | 995005600 | 995.0056 | 0.22943 | 64513790 | 64.5138 | 22402750 | 22.4028 | 15.6937 | 6.0795 | 18934520 | 1456501 | 268292900 | 2938892 | 20391021 | 288683921 | 285745029 | 17452129 | 85.59% | 6.108% | 214634320 | 82.25%
9000 | 4000 | 995311400 | 995.3114 | 0.22969 | 64767290 | 64.7673 | 18886750 | 18.8867 | 17.6863 | 5.4701 | 13108510 | 5826005 | 269443600 | 2705955 | 18934515 | 288378115 | 285672160 | 16228560 | 85.71% | 5.681% | 215554880 | 82.08%
5000 | 7000 | 995620400 | 995.6204 | 0.22995 | 65021010 | 65.021 | 15370750 | 15.3707 | 20.5284 | 4.7732 | 7282506 | 10195510 | 270595300 | 2473931 | 17478016 | 288073316 | 285599385 | 15004085 | 85.85% | 5.254% | 216476240 | 81.92%
14000 |  | 995697400 | 995.6974 | 0.22959 | 64518300 | 64.5183 | 23026500 | 23.0265 | 15.163 | 6.2628 | 20391020 |  | 268292900 | 2938892 | 20391020 | 288683920 | 285745028 | 17452128 | 85.59% | 6.108% | 214634320 | 82.25%
11000 | 2000 | 996694900 | 996.6949 | 0.23001 | 64776320 | 64.7763 | 20134250 | 20.1343 | 16.3696 | 5.8595 | 16021510 | 2913002 | 269443600 | 2705955 | 18934512 | 288378112 | 285672157 | 16228557 | 85.71% | 5.681% | 215554880 | 82.08%
7000 | 5000 | 997004000 | 997.004 | 0.23027 | 65030040 | 65.03 | 16618250 | 16.6182 | 18.755 | 5.1872 | 10195510 | 7282506 | 270595300 | 2473931 | 17478016 | 288073316 | 285599385 | 15004085 | 85.85% | 5.254% | 216476240 | 81.92%
3000 | 8000 | 997315500 | 997.3155 | 0.23052 | 65283920 | 65.2839 | 13102250 | 13.1022 | 22.337 | 4.41 | 4369504 | 11652010 | 271747600 | 2242597 | 16021514 | 287769114 | 285526517 | 13778917 | 86% | 4.826% | 217398080 | 81.75%
13000 |  | 998078500 | 998.0785 | 0.23033 | 64785340 | 64.7853 | 21381750 | 21.3818 | 15.1915 | 6.2527 | 18934520 |  | 269443600 | 2705955 | 18934520 | 288378120 | 285672165 | 16228565 | 85.71% | 5.681% | 215554880 | 82.08%
| 10000 | 998321500 | 998.3215 | 0.23094 | 65542500 | 65.5425 | 10210000 | 10.21 | 26.5347 | 3.74 |  | 14565010 | 272900800 | 2012024 | 14565010 | 287465810 | 285453786 | 12552986 | 86.19% | 4.398% | 218320640 | 81.58%
9000 | 3000 | 998387500 | 998.3875 | 0.23059 | 65039060 | 65.0391 | 17865750 | 17.8657 | 17.2093 | 5.6056 | 13108510 | 4369504 | 270595300 | 2473931 | 17478014 | 288073314 | 285599383 | 15004083 | 85.85% | 5.254% | 216476240 | 81.92%
5000 | 6000 | 998699000 | 998.699 | 0.23084 | 65292940 | 65.2929 | 14349750 | 14.3498 | 20.1471 | 4.8569 | 7282506 | 8739007 | 271747600 | 2242597 | 16021513 | 287769113 | 285526516 | 13778916 | 86% | 4.826% | 217398080 | 81.75%
2000 | 8000 | 999705000 | 999.705 | 0.23126 | 65551520 | 65.5515 | 11457500 | 11.4575 | 23.3839 | 4.2226 | 2913002 | 11652010 | 272900800 | 2012024 | 14565012 | 287465812 | 285453788 | 12552988 | 86.19% | 4.398% | 218320640 | 81.58%
11000 | 1000 | 999771000 | 999.771 | 0.23091 | 65048080 | 65.0481 | 19113250 | 19.1133 | 15.8468 | 6.0284 | 16021510 | 1456501 | 270595300 | 2473931 | 17478011 | 288073311 | 285599380 | 15004080 | 85.85% | 5.254% | 216476240 | 81.92%
7000 | 4000 | 1000083000 | 1000.083 | 0.23116 | 65301960 | 65.302 | 15597250 | 15.5973 | 18.2824 | 5.3089 | 10195510 | 5826005 | 271747600 | 2242597 | 16021515 | 287769115 | 285526518 | 13778918 | 86% | 4.826% | 217398080 | 81.75%
3000 | 7000 | 1000397000 | 1000.397 | 0.23142 | 65556030 | 65.556 | 12081250 | 12.0813 | 22.0396 | 4.4661 | 4369504 | 10195510 | 272900800 | 2012024 | 14565014 | 287465814 | 285453790 | 12552990 | 86.19% | 4.398% | 218320640 | 81.58%
9000 | 2000 | 1001466000 | 1001.466 | 0.23148 | 65310990 | 65.311 | 16844750 | 16.8448 | 16.6709 | 5.7661 | 13108510 | 2913002 | 271747600 | 2242597 | 16021512 | 287769112 | 285526515 | 13778915 | 86% | 4.826% | 217398080 | 81.75%
5000 | 5000 | 1001780000 | 1001.78 | 0.23174 | 65565060 | 65.5651 | 13328750 | 13.3287 | 19.7047 | 4.9576 | 7282506 | 7282506 | 272900800 | 2012024 | 14565012 | 287465812 | 285453788 | 12552988 | 86.19% | 4.398% | 218320640 | 81.58%
2000 | 7000 | 1002793000 | 1002.793 | 0.23216 | 65824090 | 65.8241 | 10436500 | 10.4365 | 23.1391 | 4.2651 | 2913002 | 10195510 | 274055800 | 1783358 | 13108512 | 287164312 | 285380954 | 11325154 | 86.4% | 3.968% | 219244640 | 81.42%
11000 |  | 1002850000 | 1002.85 | 0.2318 | 65320010 | 65.32 | 18092250 | 18.0922 | 15.2605 | 6.2284 | 16021510 |  | 271747600 | 2242597 | 16021510 | 287769110 | 285526513 | 13778913 | 86% | 4.826% | 217398080 | 81.75%
7000 | 3000 | 1003164000 | 1003.164 | 0.23206 | 65574080 | 65.5741 | 14576250 | 14.5762 | 17.74 | 5.4552 | 10195510 | 4369504 | 272900800 | 2012024 | 14565014 | 287465814 | 285453790 | 12552990 | 86.19% | 4.398% | 218320640 | 81.58%
3000 | 6000 | 1003485000 | 1003.485 | 0.23232 | 65828600 | 65.8286 | 11060250 | 11.0602 | 21.6824 | 4.5353 | 4369504 | 8739007 | 274055800 | 1783358 | 13108511 | 287164311 | 285380953 | 11325153 | 86.4% | 3.968% | 219244640 | 81.42%
| 8000 | 1004504000 | 1004.504 | 0.23274 | 66088060 | 66.0881 | 8168000 | 8.168 | 26.6949 | 3.7183 |  | 11652010 | 275212500 | 1556471 | 11652010 | 286864510 | 285308039 | 10095539 | 86.64% | 3.538% | 220170000 | 81.25%
9000 | 1000 | 1004547000 | 1004.547 | 0.23238 | 65583100 | 65.5831 | 15823750 | 15.8238 | 16.0582 | 5.959 | 13108510 | 1456501 | 272900800 | 2012024 | 14565011 | 287465811 | 285453787 | 12552987 | 86.19% | 4.398% | 218320640 | 81.58%
5000 | 4000 | 1004869000 | 1004.869 | 0.23264 | 65837620 | 65.8376 | 12307750 | 12.3078 | 19.1831 | 5.0814 | 7282506 | 5826005 | 274055800 | 1783358 | 13108511 | 287164311 | 285380953 | 11325153 | 86.4% | 3.968% | 219244640 | 81.42%
2000 | 6000 | 1005888000 | 1005.888 | 0.23306 | 66097090 | 66.0971 | 9415500 | 9.4155 | 22.8361 | 4.3187 | 2913002 | 8739007 | 275212500 | 1556471 | 11652009 | 286864509 | 285308038 | 10095538 | 86.64% | 3.538% | 220170000 | 81.25%
7000 | 2000 | 1006252000 | 1006.252 | 0.23296 | 65846650 | 65.8466 | 13555250 | 13.5552 | 17.1089 | 5.6349 | 10195510 | 2913002 | 274055800 | 1783358 | 13108512 | 287164312 | 285380954 | 11325154 | 86.4% | 3.968% | 219244640 | 81.42%
3000 | 5000 | 1006580000 | 1006.58 | 0.23322 | 66101600 | 66.1016 | 10039250 | 10.0392 | 21.247 | 4.6224 | 4369504 | 7282506 | 275212500 | 1556471 | 11652010 | 286864510 | 285308039 | 10095539 | 86.64% | 3.538% | 220170000 | 81.25%
| 7000 | 1007616000 | 1007.616 | 0.23364 | 66362160 | 66.3622 | 7147000 | 7.147 | 26.7903 | 3.7055 |  | 10195510 | 276373900 | 1334168 | 10195510 | 286569410 | 285235242 | 8861342 | 86.91% | 3.107% | 221099120 | 81.09%
9000 |  | 1007636000 | 1007.636 | 0.23328 | 65855670 | 65.8557 | 14802750 | 14.8027 | 15.3527 | 6.1962 | 13108510 |  | 274055800 | 1783358 | 13108510 | 287164310 | 285380952 | 11325152 | 86.4% | 3.968% | 219244640 | 81.42%
5000 | 3000 | 1007963000 | 1007.963 | 0.23354 | 66110620 | 66.1106 | 11286750 | 11.2867 | 18.5605 | 5.2367 | 7282506 | 4369504 | 275212500 | 1556471 | 11652010 | 286864510 | 285308039 | 10095539 | 86.64% | 3.538% | 220170000 | 81.25%
2000 | 5000 | 1008999000 | 1008.999 | 0.23397 | 66371190 | 66.3712 | 8394500 | 8.3945 | 22.4451 | 4.3899 | 2913002 | 7282506 | 276373900 | 1334168 | 10195508 | 286569408 | 285235240 | 8861340 | 86.91% | 3.107% | 221099120 | 81.09%
7000 | 1000 | 1009347000 | 1009.347 | 0.23386 | 66119650 | 66.1196 | 12534250 | 12.5343 | 16.3664 | 5.8605 | 10195510 | 1456501 | 275212500 | 1556471 | 11652011 | 286864511 | 285308040 | 10095540 | 86.64% | 3.538% | 220170000 | 81.25%
3000 | 4000 | 1009691000 | 1009.691 | 0.23413 | 66375700 | 66.3757 | 9018250 | 9.0183 | 20.6987 | 4.7366 | 4369504 | 5826005 | 276373900 | 1334168 | 10195509 | 286569409 | 285235241 | 8861341 | 86.91% | 3.107% | 221099120 | 81.09%
| 6000 | 1010745000 | 1010.745 | 0.23455 | 66637470 | 66.6375 | 6126000 | 6.126 | 26.8974 | 3.6912 |  | 8739007 | 277540300 | 1116892 | 8739007 | 286279307 | 285162415 | 7622115 | 87.22% | 2.673% | 222032240 | 80.93%
5000 | 2000 | 1011075000 | 1011.075 | 0.23445 | 66384720 | 66.3847 | 10265750 | 10.2658 | 17.7982 | 5.4392 | 7282506 | 2913002 | 276373900 | 1334168 | 10195508 | 286569408 | 285235240 | 8861340 | 86.91% | 3.107% | 221099120 | 81.09%
2000 | 4000 | 1012129000 | 1012.129 | 0.23487 | 66646490 | 66.6465 | 7373500 | 7.3735 | 21.9275 | 4.4876 | 2913002 | 5826005 | 277540300 | 1116892 | 8739007 | 286279307 | 285162415 | 7622115 | 87.22% | 2.673% | 222032240 | 80.93%
7000 |  | 1012458000 | 1012.458 | 0.23477 | 66393740 | 66.3937 | 11513250 | 11.5132 | 15.4742 | 6.1541 | 10195510 |  | 276373900 | 1334168 | 10195510 | 286569410 | 285235242 | 8861342 | 86.91% | 3.107% | 221099120 | 81.09%
3000 | 3000 | 1012820000 | 1012.82 | 0.23503 | 66651000 | 66.651 | 7997250 | 7.9973 | 19.9916 | 4.8919 | 4369504 | 4369504 | 277540300 | 1116892 | 8739008 | 286279308 | 285162416 | 7622116 | 87.22% | 2.673% | 222032240 | 80.93%
| 5000 | 1013894000 | 1013.894 | 0.23545 | 66914090 | 66.9141 | 5105000 | 5.105 | 27.0209 | 3.6748 |  | 7282506 | 278712200 | 905098.9 | 7282506 | 285994706 | 285089607.1 | 6377407.1 | 87.57% | 2.237% | 222969760 | 80.76%
5000 | 1000 | 1014204000 | 1014.204 | 0.23535 | 66660020 | 66.66 | 9244750 | 9.2447 | 16.8464 | 5.7128 | 7282506 | 1456501 | 277540300 | 1116892 | 8739007 | 286279307 | 285162415 | 7622115 | 87.22% | 2.673% | 222032240 | 80.93%
2000 | 3000 | 1015278000 | 1015.278 | 0.23577 | 66923110 | 66.9231 | 6352500 | 6.3525 | 21.2196 | 4.628 | 2913002 | 4369504 | 278712200 | 905098.9 | 7282506 | 285994706 | 285089607.1 | 6377407.1 | 87.57% | 2.237% | 222969760 | 80.76%
3000 | 2000 | 1015970000 | 1015.97 | 0.23594 | 66927620 | 66.9276 | 6976250 | 6.9763 | 19.0525 | 5.1132 | 4369504 | 2913002 | 278712200 | 905098.9 | 7282506 | 285994706 | 285089607.1 | 6377407.1 | 87.57% | 2.237% | 222969760 | 80.76%
| 4000 | 1017066000 | 1017.066 | 0.23636 | 67192180 | 67.1922 | 4084000 | 4.084 | 27.1689 | 3.6554 |  | 5826005 | 279890200 | 699440.8 | 5826005 | 285716205 | 285016764.2 | 5126564.2 | 87.99% | 1.799% | 223912160 | 80.61%
5000 |  | 1017353000 | 1017.353 | 0.23626 | 66936650 | 66.9367 | 8223750 | 8.2238 | 15.628 | 6.1017 | 7282506 |  | 278712200 | 905098.9 | 7282506 | 285994706 | 285089607.1 | 6377407.1 | 87.57% | 2.237% | 222969760 | 80.76%
2000 | 2000 | 1018450000 | 1018.45 | 0.23668 | 67201210 | 67.2012 | 5331500 | 5.3315 | 20.2064 | 4.8437 | 2913002 | 2913002 | 279890200 | 699440.8 | 5826004 | 285716204 | 285016763.2 | 5126563.2 | 87.99% | 1.799% | 223912160 | 80.61%
3000 | 1000 | 1019141000 | 1019.141 | 0.23684 | 67205710 | 67.2057 | 5955250 | 5.9553 | 17.7537 | 5.4514 | 4369504 | 1456501 | 279890200 | 699440.8 | 5826005 | 285716205 | 285016764.2 | 5126564.2 | 87.99% | 1.799% | 223912160 | 80.61%
| 3000 | 1020270000 | 1020.27 | 0.23727 | 67472440 | 67.4724 | 3063000 | 3.063 | 27.3438 | 3.6327 |  | 4369504 | 281077300 | 502810.2 | 4369504 | 285446804 | 284943993.8 | 3866693.8 | 88.49% | 1.357% | 224861840 | 80.45%
2000 | 1000 | 1021654000 | 1021.654 | 0.23759 | 67481460 | 67.4815 | 4310500 | 4.3105 | 18.647 | 5.2146 | 2913002 | 1456501 | 281077300 | 502810.2 | 4369503 | 285446803 | 284943992.8 | 3866692.8 | 88.49% | 1.357% | 224861840 | 80.45%
3000 |  | 1022345000 | 1022.345 | 0.23775 | 67485980 | 67.486 | 4934250 | 4.9342 | 15.8431 | 6.0296 | 4369504 |  | 281077300 | 502810.2 | 4369504 | 285446804 | 284943993.8 | 3866693.8 | 88.49% | 1.357% | 224861840 | 80.45%
| 2000 | 1023523000 | 1023.523 | 0.23818 | 67755940 | 67.7559 | 2042000 | 2.042 | 27.5306 | 3.6087 |  | 2913002 | 282277800 | 319668.1 | 2913002 | 285190802 | 284871133.9 | 2593333.9 | 89.03% | 0.9104% | 225822240 | 80.29%
2000 |  | 1024907000 | 1024.907 | 0.2385 | 67764960 | 67.765 | 3289500 | 3.2895 | 15.9674 | 5.9886 | 2913002 |  | 282277800 | 319668.1 | 2913002 | 285190802 | 284871133.9 | 2593333.9 | 89.03% | 0.9104% | 225822240 | 80.29%
| 1000 | 1026838000 | 1026.838 | 0.23909 | 68043560 | 68.0436 | 1021000 | 1.021 | 27.6773 | 3.5901 |  | 1456501 | 283495500 | 153711.1 | 1456501 | 284952001 | 284798289.9 | 1302789.9 | 89.45% | 0.4574% | 226796400 | 80.15%
|  | 1030198000 | 1030.198 | 0.24 | 68334120 | 68.3341 | 0 | 0 |  |  |  |  | 284725500 | 0 | 0 | 284725500 | 284725500 | 0 | 0% | 0% | 227780400 | 80%
|  |  |  | 0.22759 |  | 64.139 |  | 21.107